PUNJAB STATE ELECTRICITY REGULATORY COMMISSION

Notification

The  16th March. 2012

No. PSERC/Secy/Regu./ 65     -In exercise of the powers conferred on it by clause (zp) of sub-section (2) of section 181 of The Electricity Act, 2003    (36 of 2003), and all other powers enabling the Commission in this behalf, the Punjab State Electricity Regulatory Commission hereby makes the following Regulations on Demand Side Management:

Chapter I: General

1. 	Short title, extent and commencement

1.1 	These Regulations shall be called “Punjab State Electricity Regulatory Commission (Demand Side Management) Regulations, 2012”.

1.2  	These Regulations shall be applicable to all Licensees (including entities exempted under Section 13 of the Act) in the State in their respective supply areas.

1.3 	These Regulations shall come into force from the date of their publication in the official Gazette of the State.

2.   Definitions

In these Regulations, unless the context otherwise requires –

- “Act” means The Electricity Act, 2003.

- “Baseline Data” means the initial base level consumption and/or demand for electricity before a Demand Side Management (DSM) Programme begins to provide a starting point for assessing Programme impact.

- “Bureau” means the Bureau of Energy Efficiency established under subsection (1) of Section 2 of The Energy Conservation Act, 2001.

- "Commission" means the Punjab State Electricity Regulatory    Commission.

- “Cost Effectiveness” means the attractiveness of any investment in DSM Programme to its effectiveness as measured in outcomes.

- “Demand Side Management (DSM)” can be defined as the selection,   planning, and implementation of measures intended to have an influence on the demand of customer-side of the electric meter, either caused directly or stimulated indirectly by the utility - in the overall interests of reducing Licensee(s) costs.

- “DSM Programme” means a Demand Side measure designed, developed and implemented by the Distribution Licensee(s).

- “DSM Plan” means a comprehensive (comprising several Programmes/Projects) Demand Side Management Plan designed, developed and implemented by the Distribution Licensee(s).

- “DSM Resource Acquisition” means a mechanism to implement DSM Programmes through customers, Energy Service Companies, Non-Government Organisations, manufacturers/ suppliers, or other private sector organizations, with payment made to them by the Distribution Licensee(s) for the resultant energy and load reductions.

- “Energy Efficiency (EE)” is the use of less energy to provide the same or improved level of output. Energy Efficiency (EE) encompasses all changes that result in a reduction in the energy used for a given energy service or level of activity. This reduction in the energy consumption is not necessarily associated to technical changes, since it can also result from a better organization and management or improved economic efficiency in the sector.

- “Energy Service Company (ESCO)” is a company that engages in a performance based contract with a client firm to implement measures which reduce energy consumption and costs in a technically and financially viable manner.

- “Evaluation, Measurement and Verification (EM & V)” means activities which evaluate, measure and verify performance or other aspects of DSM/ Energy Efficiency Programme(s) or their market environment.

- “Load Research” means an activity embracing the measurement and study of the characteristics of electric loads to provide a thorough and reliable knowledge of trends and general behaviour of the load characteristics of the customers serviced by the electrical industry.

- “Monitoring and Reporting” means activities which monitor and evaluate the progress of DSM/Energy Efficiency Programme(s) of the Licensee(s).

- “State Designated Agency (SDA)” means a statutory body designated by the State Govt. to implement energy conservation measures at state level. In the State of Punjab, the designated agency is Punjab Energy Development Agency (PEDA).

- The words and expressions used in these Regulations and not defined herein but defined in The Electricity Act, 2003 or The Energy Conservation Act, 2001 shall have meanings respectively assigned to them in those Acts.

Chapter II: DSM objectives, targets and guidelines

3. 	DSM objectives

DSM relies on the use of high efficiency equipment and efficient use of electricity through good operating practice while preserving the same or improved level of service and comfort.  The DSM objectives are:

- To control, reduce and influence electricity demand by implementation of suitable policies and measures;

- To encourage consumers to amend their electricity consumption pattern both with respect to timing and level of electricity demand for efficient use of energy;

- To complement supply side strategies to help the Licensee(s) to avoid or postpone costly capacity (generation, transmission & distribution network) additions by slowing demand growth;

- To lower the overall cost of electricity to the consumers by economical and efficient use of resources;

- To reduce the environmental damage by reducing the emission of green house gases;

- To supplement national level efforts for implementation of various DSM schemes set out by the Bureau;

- To promote peak load management by clipping or shifting of peak load to off-peak periods;

- To reduce the cost of power purchase by the Distribution Licensee(s).

4.   Assessment of technical potential for DSM

4.1 		The Licensee(s) shall include load research in annual plans to establish   potential for DSM in the State. The assessment of DSM potential shall be carried out one year before the start of every Multi Year Tariff (MYT) control period/financial year.

Notwithstanding above provision, the first assessment of technical potential for DSM will be carried out within six months of notification of these Regulations.

4.2 	The Licensee(s) will be assisted by methodology developed by the Bureau and/or as per Guidelines issued by the Commission while assessing technical potential for DSM.

5. 	DSM targets

5.1 	The Commission will establish DSM targets in consultation with the Licensee(s) and other stakeholders.

5.2	While establishing targets, the Commission shall consider the technical potential in the State as assessed by the Licensee(s) and techno-economic viability of the DSM Programme(s).

5.3 	DSM targets may include the following:

(i)	Percentage reductions in load growth;

(ii)	Savings in load (kW), savings in energy (kWh);

(iii)	Savings as a percentage of total resources/investment in the DSM Programme(s).

6.  Guidelines on DSM process

6.1 	The Licensee(s) shall carry out various DSM activities based on General Guidelines issued by the Commission in this regard. These Guidelines shall primarily assist the Licensee(s) in execution of the following activities:

- Load and market research;

- Database development framework;

- Design & development of DSM Programme(s)/Plan;

- Cost Effectiveness assessment of DSM Programme(s);

- Eligibility criteria for DSM Programme(s);

- Methodology for setting DSM targets and funding levels;

- Implementation of DSM Programme(s);

- Monitoring and Reporting;

- Evaluation, Measurement and Verification of DSM Programme(s)/Plan.

  - The Commission will issue Programme(s)/Plan specific Guidelines during the   approval process of the Programme(s)/Plan.

Chapter III: DSM Cell

7. 	Constitution of DSM Cell, its roles & responsibilities

7.1 	Every Licensee shall, constitute a DSM Cell (under an officer of status/rank not below that of Superintending Engineer or equivalent) within one month of notification of these Regulations.

7.2 		The DSM Cell so constituted shall be provided with necessary authority and resources so as to execute the functions assigned under these Regulations and to monitor the implementation of DSM Programme(s).

7.3 	The DSM Cell shall be responsible for:

(i)	Load research and development of baseline data;

(ii)	Formulation of DSM Plan;

(iii)	Design and development of DSM Programme(s) including cost benefit analysis, plans for implementation, monitoring, reporting, measurement and verification;

(iv)	Seeking necessary approvals of the Commission to DSM Plan and individual DSM Programme;

(v)	Implementation of DSM Programme(s);

(vi)	Submission of quarterly status reports to the Commission on DSM Programme(s);

(vii)	Any other additional DSM related function that may be assigned by the Commission/Licensee from time to time.

Chapter IV: DSM Consultation Committee

8. 	Constitution of DSM Consultation Committee (DSM-CC) & its functions

8.1  	Constitution of DSM-CC

DSM-CC shall be set up by the Commission which shall be an advisory committee to assist the Licensee(s) & the Commission to drive the DSM Programme under the DSM Regulations. The DSM-CC shall function under the supervisory control of the Commission and shall comprise of:

- Secretary of the Commission to  act as the Convener;

- Director or Joint Director/Regulations to act as Secretary of DSM-CC;

- One representative of each Licensee (of the rank of Chief Engineer or equivalent and in charge of DSM Cell) in the State of Punjab as member;

- Director/PEDA  as member;

- One representative from BEE of senior rank as member;

- Maximum five representatives from educational and research institutions; industry, agriculture & general public who have special knowledge or experience of power sector to be nominated by the Commission.

8.2   Functions of DSM-CC:

- To develop Guidelines/Regulations resulting in facilitation of DSM Programme(s) implementation;

- To advise the Licensee(s) on conducting continuous consumer surveys and load research to seek information on end-use technologies, usage patterns, willingness to pay, sensitivity studies, market research etc. to assess DSM potential;

- To advise awareness activities/campaigns/exhibitions, consumer interaction sessions developed by the Licensee(s) & to supervise the same thereafter;

- To promote cross-learning among the Licensee(s) and other stakeholders so as  to design appropriate DSM Programme(s)/Plan;

- To develop innovative tariff offerings to promote DSM;

- To review DSM Programme(s)/Plan submitted by the Licensee and to assist the Commission in assessment;

- To evaluate the terms set by the financers/ bankers for funding DSM Plan;

- To provide support to the Commission for instituting DSM Programme(s)/Plan monitoring, review and EM&V as and when required;

- To study the impacts of already implemented DSM Programme(s);

- To apprise the Commission about all DSM related activities on quarterly basis.

Chapter V: DSM Process

9. 	Load and market research and development of Baseline Data

9.1 	The Licensee(s) will undertake load research to identify the target consumer segment/s and end uses for DSM Programmes to build the necessary database.

9.2 	The Licensee(s) will undertake market research to estimate market potential for specific energy efficiency technologies and applications, establish key performance indicators, and determine existing baseline market conditions.

9.3 	On the basis of the results of load and market research, the Licensee(s) will develop baseline data for its area of supply.

9.4 	The Licensee(s) will design, develop and implement the initial few DSM Programmes on the basis of available data and studies completed by the Bureau till the complete baseline data is available for its area of supply and establishment of base line data will not be a pre-requisite for design of such initial DSM Programme(s) by the Licensee(s).

10. 	Formulation of DSM Plan

10.1 	The Licensee(s) will formulate and submit to the Commission a perspective DSM Plan covering the MYT control period / financial year, within one year of coming into force of these Regulations. The Plan shall include:

- An overall goal for DSM Plan;

- Description of DSM Programme(s) to form a part of DSM Plan;

- Implementation process and schedule of each Programme in the Plan as a whole;

- Plan for Monitoring and Reporting;

- Cost Effectiveness assessment of Programme(s).

10.2 	The Licensee(s) will include all relevant DSM Programmes (including multi-state Programmes) developed by the Bureau in its perspective Plan as and when such programmes are announced by the Bureau.

10.3 	Each Licensee will submit on rolling basis, an annual plan, not inconsistent with the perspective Plan, for upcoming year, along with the Annual Performance Review in the ARR Petition.

10.4 	Selection and prioritisation of various DSM Programmes in the DSM Plan shall be guided by the following factors:

- Guidelines issued by the Commission to work out Cost Effectiveness;

- DSM Objectives identified in Regulation 3;

- Whether the proposed Programme(s) supplement National level efforts adopted by the Bureau; and

- Programmes with high visibility/viability and therefore potential for   creation of awareness within consumers.

11.  Commission’s review and approval of DSM Plan

11.1		Each Licensee shall submit the DSM Plan to the Commission including the requirement of funds for the Plan for approval at least six months before the start date of the next MYT control period or next financial year.

11.2		DSM-CC shall scrutinize the DSM Programme(s) submitted by the Licensee(s). The Committee shall hold meetings, record all its observations in regard to the Programme(s); shortcomings, if any, shall be got removed. Thereafter, the Committee shall evaluate each Programme and if satisfied, the Convener shall put up the Programme(s) to the Commission with comments. The Commission may get clarifications, if any, from the DSM-CC and/or the Licensee and accord approval to the Programme(s).

11.3		The Commission shall accord approval to DSM Plan after following procedure as specified in the Conduct of   Business Regulations.

11.4   	 The Commission will strive to enforce DSM measures such as implementation of building code, use of energy efficient or star rated appliances including agricultural pump sets in co-ordination with PEDA (State Designated Agency).

12.  Preparation of DSM Programme document

12.1	For each DSM Programme included in the DSM Plan, a general description will be provided in a separate programme document as explained in General Guidelines on DSM issued by the Commission.

12.2       Each Programme document shall include the following:

(i)			Description of the Programme;

(ii)			Objectives and rationale for the Programme;

(iii)		Consumer segments and estimated level of participation;

(iv)		Estimate of baseline;

(v)			Assessment of Programme in line with Cost Effectiveness;

(vi)		Mechanism for recovery of cost and performance incentives;

(vii)		Marketing, delivery strategy and Implementation schedule;

(viii)	Implementation mechanism e.g. Energy Service Companies, DSM bidding, DSM Resource Acquisition etc;

(ix)		Monitoring and evaluation plan; and

(x)		Plan for Training/Seminars/Workshops to increase consumer awareness.

13.   Approval of DSM Programme document

13.1   Prior to implementing any DSM Programme, the Licensee(s) must obtain approval of the Commission.

13.2   	The Commission may direct Licensee(s) to make modifications to proposed or on-going Programme(s) to ensure consistency with the DSM objectives. However, the Commission shall allow the Licensee(s) adequate time to notify the consumers regarding Programme(s) modification.

13.3 	DSM Pogramme(s) already under execution before the notification of DSM Regulations shall be exempted from approval of the Commission but the Licensee(s) shall submit status reports  in the manner as desired by the Commission.

14.  Implementation of DSM Programme(s)

14.1 	The Licensee(s) will undertake implementation of DSM Programme(s) in line with the Guidelines issued by the Commission from time to time.

14.2 	The implementation of the programme(s) will be undertaken in the manner as approved by the Commission.

14.3	The Licensee(s) will undertake implementation of quick gain DSM Programme(s) on priority.

14.4    The Licensee(s) will carry out implementation of activities assigned either by itself or through engagement of appropriate independent entity. While doing so, the Licensee(s) will ensure that continuity and consistency is maintained and interests of the consumers are not compromised.

14.5     The Commission may direct the Licensee(s) to undertake DSM Programme(s) that may not be cost effective but are highly beneficial to the society.

15. Mechanism for cost recovery

15.1	In order to qualify for cost recovery, each Programme must be

(i)	 Approved prior to implementation;

(ii)	 Implemented in accordance with the approved DSM Plan; and

(iii)	 Implemented cost effectively.

15.2  	 The Licensee(s) may propose methodology for recovery of net incremental costs through tariff or any other mechanism associated with planning, design, implementation, monitoring and verification of the Programme(s). The amounts so earmarked shall be named as DSM fund and shall be exclusively used for DSM objectives.

15.3	Carrying cost of approved DSM Programme(s) may be allowed by the Commission in ARR.

16.  Monitoring and Reporting of DSM Programme(s)

16.1     The Licensee(s) shall prepare plan and undertake Monitoring and Reporting of DSM Programmes as per Guidelines issued by the Commission from time to time and/or contained in the Programme(s) approval document.

16.2     Reports on progress of DSM Plan and expenses incurred on implementation of DSM Plan shall be submitted by the Licensee(s) every three months in the manner and formats specified by the Commission.

17.  Evaluation, Measurement and Verification of DSM Programme(s)

17.1	The Licensee(s) shall prepare plan for Evaluation, Measurement and Verification of savings from DSM Programme(s) as per Guidelines issued by the Commission from time to time.

17.2   Evaluation, Measurement and Verification of DSM Programme(s) may be undertaken by the Commission or a third party may be assigned this job. Such third party shall be either appointed by the Commission directly or by  the Licensee(s) as per eligibility criteria that shall be set by the Commission and engagement of a third party shall be got  approved from the Commission. While engaging the agency, the Commission shall ensure that the agency is not undertaking any other assignment which could conflict with the interests of the consumers in the State.

17.3     The Licensee(s) shall provide all necessary assistance to the Commission, or third party assigned by the Commission in undertaking Evaluation, Measurement and Verification of DSM Programme(s) implemented by it.

Chapter VI: DSM Plan and Programme completion report

18. 	 	The Licensee(s) will prepare and submit a detailed Programme completion report and submit the same to the Commission within one month of completion of such Programme.

19.   	     The Report shall cover the Programme expenses and accomplishment; outputs and outcomes; constraints and difficulties; conclusions and recommendations; lessons learnt and way forward.

Chapter VII: Incentives

20.      The Commission shall consider to provide appropriate tariff interventions to      support DSM viz Time of the day metering, load management, power factor incentive, rebate for energy efficient buildings/appliances etc.

21.	The Commission may provide incentives to the Licensee(s) for achieving DSM objectives and exceeding DSM targets as identified in Chapter-II of the DSM Regulations.

Chapter VIII: Miscellaneous

22. 	The Commission may, at any time, add, vary, alter, modify or amend any provisions of these Regulations.

23.  	If any difficulty arises in giving effect to any of the provisions of these Regulations, the Commission may, by general or specific order, make such provisions, not inconsistent with the provisions of the Act, as may appear to be necessary for removing the difficulty.

24. 	The Commission may, from time to time, issue orders and practice directions in regard to the implementation of these Regulations and procedures to be followed.

25.	All disputes arising under these Regulations shall be decided by the Commission based on a petition filed by the person aggrieved.

BY ORDER OF THE COMMISSION

Sd/-

SECRETARY TO THE COMMISSION