## Sheet3
17.5% Voltage Surcharge
S. No. | Name & Address of the Consumer | acc-no. | Sanctioned CD (KVA) | Consumption (2009-10)Kwh | EC billed for consumpption ( Rs.Crores) | Voltage-Surcharge (Rs.Crores)
1
1 | NORTHERN INDIA STEEL ROLLING MILLS | 61116 | 4641 | 14695050 | 6.019 | 0.505
2 | SHREYANS INDUSTRIESLTD. | 21 | 4072 | 7854160 | 3.242 | 0.298
3 | B.T. STEEL PVT.LTD. | 8 | 4871 | 10951860 | 4.582 | 0.599
4 | RAJ & SANDEEP'S LTD. | 2 | 4970 | 14243932 | 5.991 | 0.814
5 | M/S SHIVA TEX FABS LTD | 22 | 4775 | 20332168 | 8.471 | 0.832
6 | GARG FURNACE LTD. | 4 | 4700 | 12379590 | 5.122 | 0
7 | MUKESH STEELS LIMITED | 19 | 4950 | 14726350 | 6.613 | 0.764
8 | RANBAXY LABORATORIES | 110 | 4130 | 14111205 | 5.86 | 0
10% Voltage Surcharge
1 | R.K. MACHINE TOOLS | 2 | 2745 | 3517350 | 1.479 | 0.147
2 | ANTARCTIC INDUSTRIES LTD. | 197 | 3235 | 13266492 | 5.596 | 0.438
3 | HIGHWAY INDS LTD | 714 | 3950 | 11119146 | 4.676 | 0.467
4 | PARAMOUNT STEELS LTD | 743 | 3995 | 13600260 | 5.737 | 0.53
5 | SURESH KUMAR GOEL | 61182 | 3750 | 9095336 | 3.373 | 0.217
6 | JAY BHARAT SERVICES | 61141 | 3890 | 10653470 | 4.42 | 0.2904
7 | GLAXO SMITH KLINE CONSUMER | 11 | 3784 | 11705420 | 4.871 | 0.487
8 | DIDAR STEEL | 1 | 3000 | 3514130 | 1.468 | 0.1468
9 | SALUJA COTEX PVT LTD | 21 | 4000 | 27074242 | 11.38 | 1.138
10 | SHIVA FABRICATORS PVT. LTD. | 12 | 2934 | 19535850 | 8.206 | 0
11 | SHREYANS INDUSTRIES LTD.. | 11 | 4000 | 11363730 | 4.728 | 0.34
12 | GILLANDERS ARBUTHNOT &CO.LTD. | 20 | 2950 | 1566047 | 0.842 | 0.042
13 | GOBIND RUBBER | 2 | 3527 | 9657560 | 2.34 | 0.234
14 | WARYAM STEELS | 52 | 3853 | 13985810 | 5.85 | 0.406
15 | SUPREME TEXMART LTD. UNIT 2 | 290 | 4000 | 5768200 | 2.497 | 0.2497
16 | GOBIND RUBBER | 56 | 3380 | 558800 | 4.015 | 0.0401
17 | GARG ACRYLICS LTD | 151 | 3390 | 19049009 | 7.922 | 0
18 | SUPREME YARNS LTD | 134 | 4000 | 21995935 | 9.18 | 0
19 | GNA DURO PARTS | 3 | 3000 | 10941610 | 4.617 | 0.461
20 | SEL MFG. COMPANY | 4 | 3999 | 22854200 | 9.558 | 0.961

## Data
17.5% VOLTAGE SURCHARGE
Sr.No. | Name & Address of the Consumer | acc-no. | Length of line | conductor size | category of Feeder | Losses | cost of additional T/F | Total Cap. Of S/S | Cost of Civil works for each additional T/F | No of additional T/F | Cost of S/S with single T/F | Total cost of S/S
1 | NORTHERN INDIA STEEL ROLLING MILLS | 61116 | 1.2 Km. | 100 mm2 | III | 1.15 | 290.39 | 60 | 5 | 2 | 433 | 1023.78
2 | SHREYANS INDUSTRIESLTD. | 21 | 5.124 Km | 100 mm2 | III | 5.88 | 290.39 | 32.5 | 5 | 1 | 401 | 696.39
3 | B.T. STEEL PVT.LTD. | 8 | 3.5 Km | 100mm2 | III | 4.38 | 290.39 | 60 | 5 | 2 | 433 | 1023.78
4 | RAJ & SANDEEP'S LTD. | 2 | 6 Km | 80 mm2 | III | 4.36 | 290.39 | 60 | 5 | 2 | 433 | 1023.78
5 | M/S SHIVA TEX FABS LTD | 22 | 3.5 Km | 100 mm2 | III | 3.24 | 290.39 | 32.5 | 5 | 1 | 433 | 728.39
6 | GARG FURNACE LTD. | 4 | 0.720 Km | 100mm2 | II | 1.3 | 290.39 | 80 | 5 | 3 | 433 | 1319.17
7 | MUKESH STEELS LIMITED | 19 | 0.080 Km(cable) | 300 mm2 | III | 1.3 | 290.39 | 60 | 5 | 2 | 433 | 1023.78
8 | RANBAXY LABORATORIES | 110 | 1.25 Km | 80 mm2 | III |  | 290.39 | 40 | 5 | 1 | 433 | 728.39
10% Voltage Surcharge
1 | R.K. MACHINE TOOLS | 2 | 1.4 Km | 100mm2 | II | 11.5 | 290.39 | 40 | 5 | 1 | 433 | 728.39
2 | ANTARCTIC INDUSTRIES LTD. | 197 | 1.2 Km | 100mm2 | II | 10.76 | 290.39 | 60 | 5 | 1 | 433 | 728.39
3 | HIGHWAY INDS LTD | 714 | 1.0 Km | 100mm2 | III | 1.62 | 290.39 | 60 | 5 | 1 | 433 | 728.39
4 | PARAMOUNT STEELS LTD | 743 | 0.75 Km | 100 mm2 | II | 10.54 | 290.39 | 40 | 5 | 1 | 433 | 728.39
5 | SURESH KUMAR GOEL | 61182 | 0.7 Km | 100mm2 | II | 1.98 | 290.39 | 80 | 5 | 3 | 433 | 1319.17
6 | JAY BHARAT SERVICES | 61141 | 0.9 Km | 100mm2 | II | 2.8 | 290.39 | 80 | 5 | 3 | 433 | 1319.17
7 | GLAXO SMITH KLINE CONSUMER | 11 | 0.80 Km | 80 mm2 | III | 4.12 | 290.39 | 40 | 5 | 1 | 433 | 728.39
8 | DIDAR STEEL | 1 | 0.730 Km | 80 mm2 | II | 6.47 | 290.39 | 40 | 5 | 1 | 433 | 728.39
9 | SALUJA COTEX PVT LTD | 21 | 3.1 Km | 100mm2 | III | 4.82 | 290.39 | 32.5 | 5 | 1 | 433 | 728.39
10 | SHIVA FABRICATORS PVT. LTD. | 12 | 5.2 Km | 100mm2 | III | 2.7 | 290.39 | 32.5 | 5 | 1 | 433 | 728.39
11 | SHREYANS INDUSTRIES LTD.. | 11 | 2.6 Km | 80 mm2 | III | 1.01 | 290.39 | 40 | 5 | 1 | 433 | 728.39
12 | GILLANDERS ARBUTHNOT &CO.LTD. | 20 | 5.28 Km | 50 mm2 | III | 2.77 | 290.39 | 40 | 5 | 1 | 433 | 728.39
13 | GOBIND RUBBER | 2 | 0.985 Km | 100mm2 | IV | 1.3 | 290.39 | 80 | 5 | 3 | 433 | 1319.17
14 | WARYAM STEELS | 52 | 0.410 Km | 100mm2 | III | 1.3 | 290.39 | 80 | 5 | 3 | 433 | 1319.17
15 | SUPREME TEXMART LTD. UNIT 2 | 290 | 1.15 Km | 100mm2 | IV | 1.3 | 290.39 | 80 | 5 | 3 | 433 | 1319.17
16 | GOBIND RUBBER | 56 | Cable 0.250 Km | 300 mm2 | IV | 1.3 | 290.39 | 80 | 5 | 3 | 433 | 1319.17
17 | GARG ACRYLICS LTD | 151 | 1.100 Km | 100mm2 | IV | 1.3 | 290.39 | 80 | 5 | 3 | 433 | 1319.17
18 | SUPREME YARNS LTD | 134 | 1.800 Km | 95 mm2 | IV | 1.3 | 290.39 | 80 | 5 | 3 | 433 | 1319.17
19 | GNA DURO PARTS | 3 | 5.0km. | 80mm2 | III | 6.39 | 260.19 | 25 | 5 | 1 | 401 | 666.19
20 | SEL MFG. COMPANY | 4 | 5.5km | 100 mm2 | III | 7.61 | 260.19 | 25 | 5 | 1 | 401 | 666.19
weighted average line losses for 17.5% consumers with ind. Feeders = 4.34%
weighted average line losses for 10 % consumers with ind. Feeders = 3.79%

## Sheet1
Appendix
S. No. | Name & Adress of the Consumer | Sanctioned CD (KVA) | Capacity/rating of the power transformer feeding the consumer (MVA) | Total cost of power T/F(including cost of line,allied equipment,land&departmental charges) feeding the consumer ( calculated at the 2009-10 rates) (Rs. lac) | Cost of the power transformer etc proportionate to the sanctioned CD of the consumer (Rs. lac) | Carrying cost of the power transformer etc attributable to the consumer & borne by PSPCL (Rs. lac) (a) | Losses in the power T/F(@ 0.5%) (Rs lac) (b) | O&M cost attributable to the consumer on proportionate basis (Rs lac) (c) | O&M cost attributable to the consumer on proportionate basis (Rs lac) | Extra line Losses to PSPCL on 11KV instead of 66KV in the year 2009-10 on average (d ) |  | Total of carrying cost of the power T/F etc,O&M charges and losses attributable to the consumer & borne by PSPCL (Rs. lac) | Surcharge leviable in 2009-10 (Rs. lac) | Consumption (2009-10)Kwh | Total T/F capacity | Cost with one T/F | cost of additional 66/11 T/F in lacs |  |  | civil works for extra plinth (Rs. Lacs)
| Consumers paying 17.5% Surcharge | [8 empty] | %age | Rs.lac | a+b+c+d
1 | NORTHERN INDIA STEEL ROLLING MILLS | 4641 | 20 | 1187.5848 | 76.5497 | 14.5445 | 3.1815 | 3.8275 | 0.88817 | 2.05 | 13.0441 | 34.5975 | 111.3517 | 14695050 | 60 | 433 | 290.39 | 2 | 1023.78 | 5
2 | SHREYANS INDUSTRIESLTD. | 4072 | 12.5 | 807.8124 | 84.3439 | 16.0253 | 1.7004 | 4.2172 | 1.3738 | 2.05 | 6.9717 | 28.9147 | 59.5149 | 7854160 | 32.5 | 401 | 290.39 | 1 | 696.39 | 5
3 | B.T. STEEL PVT.LTD. | 4871 | 20 | 1187.5848 | 80.3434 | 15.2652 | 2.3711 | 4.0172 | 0.97838 | 2.05 | 9.7214 | 31.3749 | 82.9877 | 10951860 | 60 | 433 | 290.39 | 2 | 1023.78 | 5
4 | RAJ & SANDEEP'S LTD. | 4970 | 20 | 1187.5848 | 81.9763 | 15.5755 | 3.0838 | 4.0988 | 1.0186 | 2.05 | 12.6436 | 35.4018 | 107.9334 | 14243932 | 60 | 433 | 290.39 | 2 | 1023.78 | 5
5 | M/S SHIVA TEX FABS LTD | 4775 | 12.5 | 844.9324 | 103.4501 | 19.6555 | 4.4019 | 5.1725 | 1.9759 | 2.05 | 18.0478 | 47.2778 | 154.067 | 20332168 | 32.5 | 433 | 290.39 | 1 | 728.39 | 5
6 | GARG FURNACE LTD. | 4700 | 20 | 1530.2372 | 74.9179 | 14.2344 | 2.6802 | 3.7459 | 0.88028 | 2.05 | 10.9887 | 31.6492 | 93.8063 | 12379590 | 80 | 433 | 290.39 | 3 | 1319.17 | 5
7 | MUKESH STEELS LIMITED | 4950 | 20 | 1187.5848 | 81.6465 | 15.5128 | 3.1883 | 4.0823 | 1.0104 | 2.05 | 13.0718 | 35.8552 | 111.5889 | 14726350 | 60 | 433 | 290.39 | 2 | 1023.78 | 5
8 | RANBAXY LABORATORIES | 4130 | 20 | 844.9324 | 72.6994 | 13.8129 | 3.0551 | 3.635 | 0.75062 | 2.05 | 12.5258 | 33.0287 | 106.9277 | 14111205 | 40 | 433 | 290.39 | 1 | 728.39 | 5
[6 empty] | 124.6262 | 23.6622 | 32.7964 |  |  | 97.0151 | 278.0998 | 828.1777 |  |  |  | cost of additional 66/11 T/F (Rs.in lacs) | No. of additional 66/11 T/Fs | Total cost of 66 KV S/S | Cost of Civil works for each additional T/F
Consumers paying 10% Surcharge
1 | R.K. MACHINE TOOLS | 2745 | 20 | 844.9324 | 48.3196 | 9.1807 | 0.76151 | 2.416 | 0.33159 | 1.58 | 2.4064 | 14.7646 | 15.2301 | 3517350 | 40 | 433 | 290.39 | 1 | 728.39 | 5
2 | ANTARCTIC INDUSTRIES LTD. | 3235 | 20 | 844.9324 | 37.9633 | 7.213 | 2.8722 | 1.8982 | 0.30703 | 1.58 | 9.0761 | 21.0595 | 57.4439 | 13266492 | 60 | 433 | 290.39 | 1 | 728.39 | 5
3 | HIGHWAY INDS LTD | 3950 | 20 | 844.9324 | 46.3539 | 8.8072 | 2.4073 | 2.3177 | 0.45775 | 1.58 | 7.6071 | 21.1393 | 48.1459 | 11119146 | 60 | 433 | 290.39 | 1 | 728.39 | 5
4 | PARAMOUNT STEELS LTD | 3995 | 20 | 844.9324 | 70.323 | 13.3614 | 2.9445 | 3.5162 | 0.70235 | 1.58 | 9.3045 | 29.1265 | 58.8891 | 13600260 | 40 | 433 | 290.39 | 1 | 728.39 | 5
5 | SURESH KUMAR GOEL | 3750 | 20 | 1530.2372 | 59.7749 | 11.3572 | 1.9691 | 2.9887 | 0.56039 | 1.58 | 6.2225 | 22.5376 | 39.3828 | 9095336 | 80 | 433 | 290.39 | 3 | 1319.17 | 5
6 | JAY BHARAT SERVICES | 3890 | 20 | 1530.2372 | 62.0065 | 11.7812 | 2.3065 | 3.1003 | 0.60301 | 1.58 | 7.2885 | 24.4765 | 46.1295 | 10653470 | 80 | 433 | 290.39 | 3 | 1319.17 | 5
7 | GLAXO SMITH KLINE CONSUMER | 3784 | 20 | 844.9324 | 66.6088 | 12.6557 | 2.5342 | 3.3304 | 0.63012 | 1.58 | 8.0081 | 26.5285 | 50.6845 | 11705420 | 40 | 433 | 290.39 | 1 | 728.39 | 5
8 | DIDAR STEEL | 3000 | 20 | 844.9324 | 52.8083 | 10.0336 | 0.76081 | 2.6404 | 0.39606 | 1.58 | 2.4042 | 15.839 | 15.2162 | 3514130 | 40 | 433 | 290.39 | 1 | 728.39 | 5
9 | SALUJA COTEX PVT LTD | 4000 | 12.5 | 844.9324 | 86.6597 | 16.4653 | 5.8616 | 4.333 | 1.3866 | 1.58 | 18.5226 | 45.1825 | 117.2315 | 27074242 | 32.5 | 433 | 290.39 | 1 | 728.39 | 5
10 | SHIVA FABRICATORS PVT. LTD. | 2934 | 12.5 | 844.9324 | 63.5649 | 12.0773 | 4.2295 | 3.1782 | 0.746 | 1.58 | 13.3653 | 32.8503 | 84.5902 | 19535850 | 32.5 | 433 | 290.39 | 1 | 728.39 | 5
11 | SHREYANS INDUSTRIES LTD.. | 4000 | 20 | 844.9324 | 70.411 | 13.3781 | 2.4602 | 3.5206 | 0.70411 | 1.58 | 7.7744 | 27.1333 | 49.205 | 11363730 | 40 | 433 | 290.39 | 1 | 728.39 | 5
12 | GILLANDERS ARBUTHNOT &CO.LTD. | 2950 | 20 | 844.9324 | 51.9281 | 9.8663 | 0.33905 | 2.5964 | 0.38297 | 1.58 | 1.0714 | 13.8732 | 6.781 | 1566047 | 40 | 433 | 290.39 | 1 | 728.39 | 5
13 | GOBIND RUBBER | 3527 | 20 | 1530.2372 | 56.2203 | 10.6819 | 2.0909 | 2.811 | 0.49572 | 1.58 | 6.6071 | 22.1909 | 41.8172 | 9657560 | 80 | 433 | 290.39 | 3 | 1319.17 | 5
14 | WARYAM STEELS | 3853 | 20 | 1530.2372 | 61.4167 | 11.6692 | 3.0279 | 3.0708 | 0.5916 | 1.58 | 9.5683 | 27.3362 | 60.5586 | 13985810 | 80 | 433 | 290.39 | 3 | 1319.17 | 5
15 | SUPREME TEXMART LTD. UNIT 2 | 4000 | 20 | 1530.2372 | 63.7599 | 12.1144 | 1.2488 | 3.188 | 0.6376 | 1.58 | 3.9463 | 20.4974 | 24.9763 | 5768200 | 80 | 433 | 290.39 | 3 | 1319.17 | 5
16 | GOBIND RUBBER | 3380 | 20 | 1530.2372 | 53.8771 | 10.2366 | 0.12098 | 2.6939 | 0.45526 | 1.58 | 0.3823 | 13.4338 | 2.4196 | 558800 | 80 | 433 | 290.39 | 3 | 1319.17 | 5
17 | GARG ACRYLICS LTD | 3390 | 20 | 1530.2372 | 54.0365 | 10.2669 | 4.1241 | 2.7018 | 0.45796 | 1.58 | 13.0322 | 30.1251 | 82.4822 | 19049009 | 80 | 433 | 290.39 | 3 | 1319.17 | 5
18 | SUPREME YARNS LTD | 4000 | 20 | 1530.2372 | 63.7599 | 12.1144 | 4.7621 | 3.188 | 0.6376 | 1.58 | 15.0483 | 35.1128 | 95.2424 | 21995935 | 80 | 433 | 290.39 | 3 | 1319.17 | 5
19 | GNA DURO PARTS | 3000 | 12.5 | 772.7804 | 77.278 | 14.6828 | 2.3689 | 3.8639 | 0.92734 | 1.58 | 7.4856 | 28.4012 | 47.3772 | 10941610 | 25 | 401 | 260.19 | 1 | 666.19 | 5
20 | SEL MFG. COMPANY | 3999 | 12.5 | 772.7804 | 103.0116 | 19.5722 | 4.9479 | 5.1506 | 1.6478 | 1.58 | 15.6355 | 45.3062 | 98.9587 | 22854200 | 25 | 401 | 260.19 | 1 | 666.19 | 5
[6 empty] | 237.5156 | 52.1381 | 62.5041 |  |  | 164.7564 | 516.9142 | 1042.7618

## Sheet2
Without cost of 66 KV line & associated bays
S. No. | Name & Adress of the Consumer | Sanctioned CD (KVA) | Capacity/rating of the power transformer feeding the consumer (MVA) | Total cost of power T/F(including cost of line,allied equipment,land&departmental charges) feeding the consumer ( calculated at the 2009-10 rates) (Rs. lac) | Cost of the power transformer etc proportionate to the sanctioned CD of the consumer (Rs. lac) | Carrying cost of the power transformer etc attributable to the consumer & borne by PSPCL (Rs. lac) | Losses in the power T/F(@ 0.5%) (Rs lac) b | O&M cost attributable to the consumer on proportionate basis (Rs lac) | O&M cost attributable to the consumer on proportionate basis (Rs lac) | Extra line Losses to PSPCL on 11KV instead of 66KV in the year 2009-10 on average (d ) |  | Total of carrying cost of the power T/F etc,O&M charges and losses attributable to the consumer & borne by PSPCL(Rs. lac) | Surcharge leviable in 2009-10 (Rs. lac) | Consumption (2009-10)Kwh | Total T/F capacity | Cost with one T/F | cost of additional 66/11 T/F in lacs |  |  | civil works for extra plinth (Rs. Lacs)
| Consumers paying 17.5% Surcharge a b c | [8 empty] | %age | Rs.lac | a+b+c+d
1 | NORTHERN INDIA STEEL ROLLING MILLS | 4641 | 20 | 1095.9448 | 70.6428 | 14.1286 | 3.1815 | 3.5321 | 0.81963 | 2.05 | 13.0441 | 33.8862 | 111.3517 | 14695050 | 60 | 433 | 290.39 | 2 | 1023.78 | 5
2 | SHREYANS INDUSTRIESLTD. | 4072 | 12.5 | 716.1724 | 74.7757 | 14.9551 | 1.7004 | 3.7388 | 1.2179 | 2.05 | 6.9717 | 27.3661 | 59.5149 | 7854160 | 32.5 | 401 | 290.39 | 1 | 696.39 | 5
3 | B.T. STEEL PVT.LTD. | 4871 | 20 | 1095.9448 | 74.1437 | 14.8287 | 2.3711 | 3.7072 | 0.90289 | 2.05 | 9.7214 | 30.6284 | 82.9877 | 10951860 | 60 | 433 | 290.39 | 2 | 1023.78 | 5
4 | RAJ & SANDEEP'S LTD. | 4970 | 20 | 1095.9448 | 75.6506 | 15.1301 | 3.0838 | 3.7825 | 0.93996 | 2.05 | 12.6436 | 34.6401 | 107.9334 | 14243932 | 60 | 433 | 290.39 | 2 | 1023.78 | 5
5 | M/S SHIVA TEX FABS LTD | 4775 | 12.5 | 753.2924 | 92.23 | 18.446 | 4.4019 | 4.6115 | 1.7616 | 2.05 | 18.0478 | 45.5073 | 154.067 | 20332168 | 32.5 | 433 | 290.39 | 1 | 728.39 | 5
6 | GARG FURNACE LTD. | 4700 | 20 | 1438.5972 | 70.4313 | 14.0863 | 2.6802 | 3.5216 | 0.82757 | 2.05 | 10.9887 | 31.2768 | 93.8063 | 12379590 | 80 | 433 | 290.39 | 3 | 1319.17 | 5
7 | MUKESH STEELS LIMITED | 4950 | 20 | 1095.9448 | 75.3462 | 15.0692 | 3.1883 | 3.7673 | 0.93241 | 2.05 | 13.0718 | 35.0967 | 111.5889 | 14726350 | 60 | 433 | 290.39 | 2 | 1023.78 | 5
8 | RANBAXY LABORATORIES | 4130 | 20 | 753.2924 | 64.8145 | 12.9629 | 3.0551 | 3.2407 | 0.66921 | 2.05 | 12.5258 | 31.7845 | 106.9277 | 14111205 | 40 | 433 | 290.39 | 1 | 728.39 | 5
[6 empty] | 119.607 | 23.6622 | 29.9017 |  |  | 97.0151 | 270.1861 | 828.1777 |  |  |  | cost of additional 66/11 T/F (Rs.in lacs) | No. of additional 66/11 T/Fs | Total cost of 66 KV S/S | Cost of Civil works for each additional T/F
Consumers paying 10% Surcharge
1 | R.K. MACHINE TOOLS | 2745 | 20 | 753.2924 | 43.0789 | 8.6158 | 0.76151 | 2.1539 | 0.29563 | 1.58 | 2.4064 | 13.9376 | 15.2301 | 3517350 | 40 | 433 | 290.39 | 1 | 728.39 | 5
2 | ANTARCTIC INDUSTRIES LTD. | 3235 | 20 | 753.2924 | 33.8458 | 6.7692 | 2.8722 | 1.6923 | 0.27373 | 1.58 | 9.0761 | 20.4098 | 57.4439 | 13266492 | 60 | 433 | 290.39 | 1 | 728.39 | 5
3 | HIGHWAY INDS LTD | 3950 | 20 | 753.2924 | 41.3265 | 8.2653 | 2.4073 | 2.0663 | 0.4081 | 1.58 | 7.6071 | 20.346 | 48.1459 | 11119146 | 60 | 433 | 290.39 | 1 | 728.39 | 5
4 | PARAMOUNT STEELS LTD | 3995 | 20 | 753.2924 | 62.6959 | 12.5392 | 2.9445 | 3.1348 | 0.62618 | 1.58 | 9.3045 | 27.9229 | 58.8891 | 13600260 | 40 | 433 | 290.39 | 1 | 728.39 | 5
5 | SURESH KUMAR GOEL | 3750 | 20 | 1438.5972 | 56.1952 | 11.239 | 1.9691 | 2.8098 | 0.52683 | 1.58 | 6.2225 | 22.2404 | 39.3828 | 9095336 | 80 | 433 | 290.39 | 3 | 1319.17 | 5
6 | JAY BHARAT SERVICES | 3890 | 20 | 1438.5972 | 58.2932 | 11.6586 | 2.3065 | 2.9147 | 0.5669 | 1.58 | 7.2885 | 24.1682 | 46.1295 | 10653470 | 80 | 433 | 290.39 | 3 | 1319.17 | 5
7 | GLAXO SMITH KLINE CONSUMER | 3784 | 20 | 753.2924 | 59.3846 | 11.8769 | 2.5342 | 2.9692 | 0.56178 | 1.58 | 8.0081 | 25.3885 | 50.6845 | 11705420 | 40 | 433 | 290.39 | 1 | 728.39 | 5
8 | DIDAR STEEL | 3000 | 20 | 753.2924 | 47.0808 | 9.4162 | 0.76081 | 2.354 | 0.35311 | 1.58 | 2.4042 | 14.9352 | 15.2162 | 3514130 | 40 | 433 | 290.39 | 1 | 728.39 | 5
9 | SALUJA COTEX PVT LTD | 4000 | 12.5 | 753.2924 | 77.2608 | 15.4522 | 5.8616 | 3.863 | 1.2362 | 1.58 | 18.5226 | 43.6993 | 117.2315 | 27074242 | 32.5 | 433 | 290.39 | 1 | 728.39 | 5
10 | SHIVA FABRICATORS PVT. LTD. | 2934 | 12.5 | 753.2924 | 56.6708 | 11.3342 | 4.2295 | 2.8335 | 0.66509 | 1.58 | 13.3653 | 31.7625 | 84.5902 | 19535850 | 32.5 | 433 | 290.39 | 1 | 728.39 | 5
11 | SHREYANS INDUSTRIES LTD.. | 4000 | 20 | 753.2924 | 62.7744 | 12.5549 | 2.4602 | 3.1387 | 0.62774 | 1.58 | 7.7744 | 25.9282 | 49.205 | 11363730 | 40 | 433 | 290.39 | 1 | 728.39 | 5
12 | GILLANDERS ARBUTHNOT &CO.LTD. | 2950 | 20 | 753.2924 | 46.2961 | 9.2592 | 0.33905 | 2.3148 | 0.34143 | 1.58 | 1.0714 | 12.9845 | 6.781 | 1566047 | 40 | 433 | 290.39 | 1 | 728.39 | 5
13 | GOBIND RUBBER | 3527 | 20 | 1438.5972 | 52.8535 | 10.5707 | 2.0909 | 2.6427 | 0.46604 | 1.58 | 6.6071 | 21.9114 | 41.8172 | 9657560 | 80 | 433 | 290.39 | 3 | 1319.17 | 5
14 | WARYAM STEELS | 3853 | 20 | 1438.5972 | 57.7387 | 11.5477 | 3.0279 | 2.8869 | 0.55617 | 1.58 | 9.5683 | 27.0309 | 60.5586 | 13985810 | 80 | 433 | 290.39 | 3 | 1319.17 | 5
15 | SUPREME TEXMART LTD. UNIT 2 | 4000 | 20 | 1438.5972 | 59.9415 | 11.9883 | 1.2488 | 2.9971 | 0.59942 | 1.58 | 3.9463 | 20.1805 | 24.9763 | 5768200 | 80 | 433 | 290.39 | 3 | 1319.17 | 5
16 | GOBIND RUBBER | 3380 | 20 | 1438.5972 | 50.6506 | 10.1301 | 0.12098 | 2.5325 | 0.428 | 1.58 | 0.3823 | 13.1659 | 2.4196 | 558800 | 80 | 433 | 290.39 | 3 | 1319.17 | 5
17 | GARG ACRYLICS LTD | 3390 | 20 | 1438.5972 | 50.8005 | 10.1601 | 4.1241 | 2.54 | 0.43053 | 1.58 | 13.0322 | 29.8564 | 82.4822 | 19049009 | 80 | 433 | 290.39 | 3 | 1319.17 | 5
18 | SUPREME YARNS LTD | 4000 | 20 | 1438.5972 | 59.9415 | 11.9883 | 4.7621 | 2.9971 | 0.59942 | 1.58 | 15.0483 | 34.7958 | 95.2424 | 21995935 | 80 | 433 | 290.39 | 3 | 1319.17 | 5
19 | GNA DURO PARTS | 3000 | 12.5 | 681.1404 | 68.114 | 13.6228 | 2.3689 | 3.4057 | 0.81737 | 1.58 | 7.4856 | 26.883 | 47.3772 | 10941610 | 25 | 401 | 260.19 | 1 | 666.19 | 5
20 | SEL MFG. COMPANY | 3999 | 12.5 | 681.1404 | 90.796 | 18.1592 | 4.9479 | 4.5398 | 1.4524 | 1.58 | 15.6355 | 43.2824 | 98.9587 | 22854200 | 25 | 401 | 260.19 | 1 | 666.19 | 5
[6 empty] | 227.1478 | 52.1381 | 56.787 |  |  | 164.7564 | 500.8293 | 1042.7618