PUNJAB STATE ELECTRICITY REGULATORY COMMISSION

SCO NO. 220-221, SECTOR 34-A, CHANDIGARH

Petition No. 4 of 2012

Date of hearing: 13.03.2012

Date of Order: 16.03.2012

In the matter of :    	Petition under Clause 5.2 (Note ii) of the Conditions of Supply for catering supply at lower voltage on payment of surcharge.

AND

In the matter of:    	M/s Jai Parvati Forge Ltd., Vill. Bhagwanpur, Barwala Road, Dera Bassi, Distt. Mohali through Shri S.S.Chauhan, Chairman-cum-Managing Director of the Company, Mailing address & Regd. Office: # 72. Sector 4, Panchkula.

Versus

Punjab State Power Corporation Limited, The Mall, Patiala

Present:      	           Smt.Romila Dubey, Chairperson

Shri Virinder Singh, Member

Shri Gurinderjit Singh, Member

For petitioner:	           Shri B.R.Jindal

Shri Rakesh Goyal

For PSPCL:              Shri Ravinder Gautam, Dy.CE/TR-II

Shri D.K.Gautam, Addl.SE/TR-V

Shri H.S.Oberoi, Sr.XEN, Lalru/Derabassi

ORDER

The petition has been filed by  Jai Parvati Forge Limited,  Vill. Bhagwanpur, Barwala Road, Dera Bassi, Distt. Mohali under Clause 5.2 (Note ii) of the Conditions of Supply of the Licensee, PSPCL, approved by the Commission. The petitioner has submitted that it has a large supply connection with sanctioned load of 2394.744 KW and contract demand of 2300 KVA at 11 KV supply voltage since 05.12.2008. The petitioner has applied for extension in load of 2105.256 KW/CD of 1700 KVA making total load as 4500 KW/4000 KVA CD at 11 KV supply voltage.  The petitioner has submitted that his requisition  was considered by the feasibility clearance committee (FCC) on 23.11.2011 and case was deferred with the observation that being a power intensive unit, the extension in load/CD should be released at 66 KV voltage only and not at 11 KV supply voltage. The petitioner again requested PSPCL vide letter dated  17.12.2011 to reconsider the grant of feasibility clearance for extension of load in terms of note (ii) of clause 5.2 of Conditions of Supply which reads as under:-

“In case there is any constraint in releasing a connection at the specified voltage, the Board may cater the supply at a lower voltage on payment of surcharge as specified in the General Conditions of Tariff.”

That the case was reconsidered in FCC meeting held on 20.12.2011 and was rejected with the following decision:-

“FCC observed that the non-availability of land for 66 KV Sub Station is a constraint of the firm but not for PSPCL, so being a power intensive unit, extension in load/CD should be released at 66 KV supply voltage only, not at 11 KV supply voltage. Therefore FCC decided  to reject the case and asked CE/South Zone, Patiala to intimate the consumer”.

The petitioner has prayed for directing PSPCL to consider grant of feasibility clearance for extension in load of 2105.256 KW/1700 KVA CD to the existing load of 2394.744 KW/2300 KVA CD at 11 KV supply voltage with payment of surcharge as per General Conditions of Tariff as provided under note (ii) of clause 5.2 of Conditions of Supply.

The petition was admitted vide Order dated 17.02.2012 of the Commission. PSPCL was directed to verify factual position with regard to the constraint of space and file reply by 06.03.2012. PSPCL has filed reply vide C.E./ARR & TR memo No.5198/99/Sr.Xen/TR-5/507 dated 09.03.2012. PSPCL reproduced the decision of FCC meeting held on 20.12.2011 and submitted that provision of COS 5.2 note (ii) should not be made applicable and this  industry should be allowed this extension in load at 66 KV supply voltage as per decision of FCC. It has further been submitted that there is indeed space constraint for setting up 66 KV Sub Station within the premises of the industry. The Commission notes that constraint of space for setting up 66 KV Sub Station in the premises of petitioner should have been kept in view while planning extension in load by the petitioner which is to be catered at 66 KV voltage only as per Conditions of Supply of PSPCL and approved by the Commission.

The prayer of the petitioner for directing PSPCL to consider feasibility clearance for extension in load of 2105.256 KW/1700 KVA contract demand to the existing load of 2394.744 KW/2300 KVA CD thus making the total load as 4500 KW/4000 KVA  at 11 KV voltage with payment of surcharge as per General Conditions of Tariff  as provided under note (ii) of clause 5.2 of Conditions of Supply  is hereby rejected.

The petition is disposed of accordingly.

Sd/-				     Sd/-			     Sd/-

(Gurinderjit Singh)	                    (Virinder Singh)	           (Romila Dubey)

Member		                    Member  		            Chairperson

Chandigarh

Dated: 16.03.2012