PUNJAB STATE POWER CORPORATION LIMITED

FORUM FOR REDRESSAL OF GRIEVANCES OF CONSUMERS

P-1 WHITE HOUSE, RAJPURA COLONY, PATIALA

Case No. CG-70 of 2012

Instituted on : 19.7..2012

Closed on  	  : 8.8.2012

Smt.Tara Devi,

H.No.544,Indira Nagar,

Nangal-140126.					    		        Appellant

Name of the Op. Division:  	Anandpur Sahib.

A/c No. GK-71/0125

### Through

Smt.Tara Devi,  Petitioner

### V/s

PUNJAB STATE POWER CORPORATION  LTD.	     Respondent

Through

Er. Devinder Singh Sr.Xen/ Op Divn. Anandpur Sahib.

BRIEF HISTORY

The appellant consumer is having DS category connection bearing A/C No. GK-71/0125 with sanctioned load of 1.08 KW in the name of  Smt.Tara Devi,  running under Op. Sub-Divn. Nangal.

The consumer was billed for the period 11.5.11 to 12.7.11 during 3rd cycle for consumption of 494 units, which was deposited by her vide receipt No.C/223 dt.24.8.2011 but consumer felt that the bill for said consumption was higher as compared to her use of energy. The  consumer challenged the meter by depositing Rs.120/- vide BA-16 No.203/9078 dt.18.8.11 and the meter was changed vide  MCO No.24/100329 dt.18.8.11 and the final reading at the time of replacement of meter was 1327 KWH. ME Lab reported vide challan No.327 dt.2.9.11 that the checking results of the meter were within  permissible limits. On the report of ME Lab the Internal Audit party intimated the Sub-Divisional office vide H.M.No.26 dt.12.3.12 that Rs.4165/- on  account  of  difference  of   reading of challenged meter and actual consumption of newly installed meter i.e. total 752 units was

chargeable to the consumer.

The consumer made an appeal in DDSC for this higher billing. The DDSC heard the case in its meeting held on 11.4.2012 and decided that the amount charged for 752 units(425 of old meter +327 of new meter) is correct and recoverable from the consumer.

Not satisfied with the decision of the DDSC, the appellant consumer filed an appeal before the Forum and the Forum heard the case on 8.8.2012  and the case was closed for passing speaking orders on same day on the request of the petitioner.

Proceedings of the Forum:

i) On 08.08.2012, Representative of PSPCL submitted four copies of the reply  and the same has been taken on record. One copy thereof was handed over to the petitioner.

Petitioner contended that she challenged the meter during August 2011 and deposited meter challenge fee as bill received was for excessive consumption and my meter was changed thereafter. The amount Rs.4105/- charged on account of Audit report is not genuine and may be quashed.

Representative of PSPCL contended that  the challenged meter was got checked from ME Lab and as per their report meter was declared OK. The amount charged was as difference of the meter reading of the challenged meter and new meter. So the amount charged is correct and recoverable.

Both the parties have nothing more to say and submit.

The case is closed for passing speaking orders.

Observations of the Forum:

After the perusal of petition, reply, proceedings, oral discussions and record made available, Forum observed as under:-

i) 	The appellant consumer is having DS category connection bearing A/C No. GK-71/0125 with sanctioned load of 1.08 KW in the name of  Smt.Tara Devi,  running under Op. Sub-Divn. Nangal.

ii)	The consumer was billed for the period 11.5.11 to 12.7.11 during 3rd cycle for consumption of 494 units, which was deposited by her vide receipt No.C/223 dt.24.8.2011 but consumer felt that the bill for said consumption was higher as compared to her use of energy. The  consumer challenged the meter by depositing Rs.120/- vide BA-16 No.203/9078 dt.18.8.11 and the meter was changed vide  MCO No.24/100329 dt.18.8.11 and the final reading at the time of replacement of meter was 1327 KWH. ME Lab reported vide challan No.327 dt.2.9.11 that the checking results of the meter were within  permissible limits. On the report of ME Lab the Internal Audit party intimated the Sub-Divisional office vide H.M.No.26 dt.12.3.12 that Rs.4165/- on  account  of  difference  of   reading of challenged meter and actual consumption of newly installed meter i.e. total 752 units was chargeable to the consumer.

iii)	Petitioner contended that she challenged the meter during August 2011 and deposited meter challenge fee as bill received was for excessive consumption and my meter was changed thereafter. The amount Rs.4105/- charged on account of Audit report is not genuine and may be quashed.

iv)	Representative of PSPCL contended that the challenged meter was got checked from ME Lab and as per their report meter was declared OK. The amount charged was as difference of the meter reading of the challenged meter and new meter. So the amount charged is correct and recoverable.

v)	Forum observed that the consumption of the consumer during the period 11.5.11 to 12.7.11 was 494 units, though he deposited the bill but also challenged the meter due to excessive consumption and after effecting the MCO the meter was checked in the ME Lab and its results were found within permissible limits. The previous bill prior to consumption bill of 494 units was also for 311 units for the proceeding two months period(2nd cycle). Further the amount charged on behalf of the Internal Audit was for total consumption of 752 units which included balance consumption of challenged meter of 425 units and consumpti0n of the newly installed meter was 327 units and thereafter next two bills issued were for 359 and 457 units respectively. It confirms that  consumption pattern before the replacement of meter and after replacement of meter is almost similar and units billed to consumer is for actual consumption and so rightly charged. Moreover the meter's results of ME checking were also found within permissible limits.

Decision

Keeping in view the petition, reply, oral discussions, and after hearing both the parties, verifying the record produced by them and observations of Forum, Forum decides to uphold the decision of DDSC taken in its meeting held on 11.4.2012. Forum further decides that the balance amount recoverable/refundable, if any, be recovered/refunded from/to the consumer alongwith interest/surcharge as per instructions of PSPCL.

(CA Harpal Singh)     	 (K.S. Grewal)                    	 ( Er.C.L. Verma )

CAO/Member           	Member/Independent         	 CE/Chairman