PUNJAB STATE POWER CORPORATION LIMITED

FORUM FOR REDRESSAL OF GRIEVANCES OF CONSUMERS

P-1 WHITE HOUSE, RAJPURA COLONY, PATIALA

Case No. CG-19 of 2012

Instituted on : 17.02.2012

Closed on  	  : 27.03.2012

Sh.Shashi Paul,

361-C, Raj Guru Nagar,

Ludhiana.								    Petitioner

Name of the Op. Division:  	Agar Nagar Spl. Ludhiana

A/c No. PH-23/274-Y

### Through

Sh.Shashi Paul, Petitioner

### V/s

PUNJAB STATE POWER CORPORATION LTD.	     Respondent

Through

Er. Pardeep Gupta, ASE/Op. Agar Nagar Divn. Spl.Ludhiana.

BRIEF HISTORY

The appellant consumer is having DS category connection bearing A/C No.PH-23/274-Y with sanctioned load of 7.84KW in the name of  Sh.Shashi Paul,Raj Guru Nagar,Ludhiana running under K.S.S.Nagar   Sub-Divn, Ludhiana.

The petitioner was issued a bill No. 1253 dt.13.5.11 for the period of 8.3.11 to 13.5.11 for the consumption of 2384 units amounting to Rs.12,620/-. The consumer was not satisfied with this bill and challenged his meter by depositing Rs.120/- as challenged fee on dt.25.5.11. The meter was changed vide MCO No.74209 dt.26.5.11 effected on 28.5.11. The old meter  was checked in ME Lab and reported vide challan No.120225/42238 dt.22.6.2011 that the results of meter are within permissible limit. The consumer did not deposit the amount of the bill for the month of 5/11.

The consumer made an appeal in DDSC after depositing 33% of the disputed amount. The DDSC heard the case in its meeting held on 29.9.2011 and decided that the amount charged is correct and recoverable from the consumer.

Not satisfied with the decision of the DDSC, the appellant consumer filed an appeal before the Forum and the Forum heard the case on 7.3.2012, 15.3.2012 and finally on 27.3.2012  when the case was closed for passing speaking orders.

Proceedings of the Forum:

i) On 07.03.2012, Representative of PSPCL submitted authority vide  Memo.No 1879 dt.6.3.12  in his favour duly signed by ASE/Op. Agar Nagar Spl. Divn. Ludhiana and  the same has been taken on record.

Representative of PSPCL submitted  four copies of the reply and the same has been taken on record. One copy thereof was handed over to the Petitioner.

ii) On  15.03.2012,Representative of PSPCL submitted authority vide  Memo. No.1896   dt. 14.3.12  in his favour duly signed by ASE/Op. Agar Nagar Spl. Divn. Ludhiana and  the same has been taken on record.

Representative of PSPCL submitted  letter No. 1895 dt. 14.3.12 in which  ASE/Op. Agar Nagar Spl. Divn. Ludhiana stated that reply submitted on 07.03.2012 may be treated as their written arguments.

Representative of PSPCL is directed to hand over the copy of the proceeding to the PR with dated signature.

iii) On  27.03.2012,PR contended that their petition and written arguments already submitted may be treated as part of oral discussions, further reiterated that apart from the disputed bill of 2384 Units for April,2011, another 1397 units are more to be charged as balance up to removal of the disputed meter which proves that meter was recording excessive consumption during that period which may be withdrawn.

Representative of PSPCL contended that meter of the consumer was changed on the consumer request on 28.5.11 and as per ME report accuracy results of the meter was within permissible limit. Therefore, the bill for the month of 4/11 for 2384 units is as per meter reading. Moreover the consumption of the consumer for the year 2008 has been recorded as 5238 units and for 2009, 5265 units which is comparable with the consumption for the year 2011.

Both the parties have nothing more to say and submit.

The case is closed for speaking orders.

Observations of the Forum:

After the perusal of petition, reply, proceedings, oral discussions and record made available, Forum observed as under:-

i)	The appellant consumer is having DS category connection bearing A/C No.PH-23/274-Y with sanctioned load of 7.84KW in the name of  Sh.Shashi Paul,Raj Guru Nagar,Ludhiana running under K.S.S.Nagar   Sub-Divn, Ludhiana.

ii)	The petitioner was issued a bill No. 1253 dt.13.5.11 for the period of 8.3.11 to 13.5.11 for the consumption of 2384 units amounting to Rs.12,620/-. The consumer was not satisfied with this bill and challenged his meter by depositing Rs.120/- as challenged fee on dt.25.5.11. The meter was changed vide MCO No.74209 dt.26.5.11 effected on 28.5.11. The old meter  was checked in ME Lab and reported vide challan No.120225/42238 dt.22.6.2011 that the results of meter are within permissible limit. The consumer did not deposit the amount of the bill for the month of 5/11.

iii)	The petitioner contended that his electricity bill amounting to Rs.12,620/- for the period 8.3.11 to 13.5.11 was abnormally high as compared to his previous record as 2384 units were consumed during period of 8.3.11 to 13.5.11 and even another1397 units were recorded upto 28.5.11 when the meter was removed which proves that meter was recording excessive consumption during that period. The old meter was not checked in his presence in the laboratory.

iv)	Representative of PSPCL contended that meter of the consumer was changed on the consumer request on 28.5.11 and as per ME report accuracy results of the meter was within permissible limit. Therefore, the bill for the period 8.3.11 to 13.5.11(4/11) for 2384 units is as per meter reading. Moreover the consumption of the consumer for the year 2008 has been recorded as 5238 units and for 2009 it was 5265 units which is comparable with the consumption for the year 2011.

v)	Forum observed that though the meter accuracy results were found within permissible limit in the ME Lab as intimated vide ME challan No.120225/42238 dt.22.6.11, but the consumption recorded by the meter for the period 8.3.11 to 13.5.11 was 2384 units which seems to be on higher side as compared to the same months of the previous years i.e. 2008,2009 & 2010. Further the consumption recorded by the meter from 13.5.11 to 28.5.11date of meter removal after challenged was 1397 units which also not seems to be correct as per his sanctioned load of 7.84KW and as compared to his previous years consumptions.

Forum further observed that the total year-wise consumptions for the year 2008 was 5238 units, year 2009 was 5565 units, year 2010 was 4281 units and the bill issued in 05/2011 for 2384 units is much more than that of corresponding bills of year 2008,09 & 10 and even further consumption of 1397 units in mere 15 days is definitely abnormal. So meter working at site was not as per loading pattern.

Decision

Keeping in view the petition, reply, written arguments, oral discussions, and after hearing both the parties, verifying the record produced by them and observations of Forum, Forum decides that account of the petitioner be overhauled for the period 8.3.11 to 28.5.11 on the basis of consumption  recorded of 2017 units in two bimonthlies of April,09 & June,09(4months). Forum further decides that the balance amount recoverable/refundable, if any, be recovered/refunded from/to the consumer alongwith interest/surcharge as per instructions of PSPCL.

(CA Harpal Singh)     	 (K.S. Grewal)                    	 ( Er.C.L. Verma )

CAO/Member           	Member/Independent         	 CE/Chairman