PUNJAB STATE POWER CORPORATION. LTD.

CONSUMERS GRIEVANCES REDRESSAL FORUM

P-I, White House, Rajpura Colony Road, Patiala.

Case No. CG-  34 of 2013

Instituted on :   15.03.2013

Closed on     :  30.04.2013

Sh. Manjit Singh

597,Tripuri

Opposite Gurudwara Sahib Kashmirian,

Patiala.                                                                                      Appellant	                                                                                                                                                                                                                                                                                                                                        Name of  Op. Division:   Comml. Patiala

A/C No:  3000059665

Through

Sh.Antar Pal Singh,PR

V/S

Punjab State Power Corporation Ltd.	                                 Respondent

Through

Er. Surinder Loomba, ASE/Comml. Division, Patiala.

BRIEF HISTORY

Petition No. CG-34 of 2013 was filed against order dt. 10.01.2013 of the DDSC Patiala deciding that as per print out of DDL the potential of blue phase was not contributing w.e.f. 21.07.2012, so the account of the consumer be overhauled from 21.07.2012 to the date of change of meter.

The consumer is having NRS category connection with sanctioned load of 68.35 KW operating under West Comml. sub division, Patiala.

The connection of the consumer was checked by the Sr.Xen/Enf.I, Patiala on dated 02.08.2012 vide ECR No. 116 and reported that meter at running load of 12.23 KW was checked with LT ERS meter and found meter accuracy of pulse and dial mode slow by 17.42%. On the basis of checking report the account of the consumer was overhauled for a period of six-month from 02/2012 to 07/2012 and an amount of Rs. 36,521/- was charged. A notice No. 2251 dt. 31.08.2012 was issued to the consumer to deposit the requisite amount. Consumer represented to ASE/Comml. Divn. Patiala on dated 17.09.2012 that his connection was again checked by ASE/Enf. vide ECR No. 43/91 dt. 23.08.2012. The enforcement checked the energy meter installed at his premises at running load of 26 KW and PF 0.95 and reported that the meter was found operating within permissible limits. On the basis of above enforcement checking dt.23.08.2012,  consumer made an appeal in the DDSC after depositing Rs.7310/- i.e. 20% of the disputed amount. DDSC heard the case on 10.01.2013 and decided to overhaul the account of the consumer from 21.07.2012 to date of change of meter i.e., 10.10.2012.

As per decision of DDSC,  AEE/Comml. West Sub division, Patiala issued revised notice vide No. 544 dt. 20.02.2013 that the balance amount of Rs. 3029/- { Rs. 10,339/- Rs. 7310/- (already deposited) } be deposited.

The consumer did not agree to it and made an appeal in the Forum, Forum heard the case on 02.04.2013, 11.04.2013, 18.04.2013 and finally on 30.04.2013 when the case was closed for passing speaking orders.

Proceedings:

On dated 02.04.2013, No one appeared from petitioner side.

Representative of PSPCL submitted authority vide letter No.9269  dt.                  01-04-2013  in his favour duly signed by ASE/ Comml. Divn. Patiala and the same has been taken on record.

Representative of PSPCL submitted four copies of the reply and the same has been taken on record.

Representative of PSPCL is directed to hand over the copy of the proceeding along-with reply to the petitioner with dated signature.

On dated 11.04.2013, Representative of PSPCL stated that the reply may be treated as their written arguments

PR stated their written arguments are not ready and requested for giving some more time.

On dated 18.04.2013, PR submitted four copies of the written arguments and the same has been taken on record. One copy thereof has been handed over to the respondent.

Representative of PSPCL stated that the reply submitted by them on dt.02.04.2013 be treated as their written arguments.

On dated 30.04.2013, PR contended that in addition to our petition, written arguments it is again reiterated that the connection was checked by the enforcement on dated 02.08.2012 w.r.t. my complaint dated 30.07.2012. During  checking it was reported by enforcement agencies that the meter was slow by 17.42% due to overheating of blue phase lead of  CT which was set right at the same time. However, the meter was again checked by enforcement on dated 23.08.2012 and checking agency reported the working of the meter within the permissible limit. Therefore, it is prayed that our account be overhauled for the period 21.07.2012 to 02.08.2012.

Representative of PSPCL contended that the case of the consumer has been rightly judged in the DDSC and requisite relief has been given by charging the amount from 21.07.2012 to 11.10.2012 i.e. change of meter. Therefore the amount as charged is correct.

Both the parties have nothing more to say and submit and the case was closed for passing speaking orders.

Observations of the Forum

After the perusal of petition, reply, written arguments, proceedings, oral discussions and record made available to the Forum,  Forum observed as under:-

The consumer having NRS category connection with sanctioned load of 68.35 KW operating under West Comml. sub division, Patiala.

Forum observed that the connection of the consumer was checked by the Enf.I, Patiala on 02.08.2012 and reported that energy meter was checked with LT ERS meter and found 17.42% slow. The account of the consumer was accordingly overhauled for a period of six months from 02/2012 to 07/2012 and Rs. 36,521/- was charged. Further the DDSC on the basis of Enforcement  checking dated 02.08.2012 revised the period of charging as per instructions of ASE/Enf. Patiala to AEE/Comml. S/D Patiala, on the basis of DDL print outs. The period of overhauling the account was revised to 23.07.2011 to date of change of meter.

Forum further observed that during checking of Enforcement, Patiala on dated 02.08.2012, it was reported that the meter was slow by 17.42% due to overheating of blue phase lead of CT which may have set right at the same time by the operational staff because operational staff was also present at the time of checking.  Further the correctness of meter/connection was also confirmed during the enforcement checking dated 23.08.2012. It shows that the connection became OK on 02.08.2012.  So Forum is of the view that overhauling of account of the consumer with slowness factor of 17.42% after 02.08.2012 not seems to be justified.

Decision:-

Keeping in view the petition, reply, written arguments, oral discussions, and after hearing both the parties, verifying the record produced by them and observations of Forum, Forum decides:

- That the account of the consumer be overhauled with slowness factor of 17.42% for the period 21.07.2012 to 02.08.2012.

- That the balance amount recoverable/refundable, if any, be recovered/refunded from/to the consumer along-with interest/surcharge as per instructions of PSPCL.

- As required under Section 19(1) & 19(1A) of Punjab State Regulatory Commission ( Forum & Ombudsman) Regulation-2005, the implementation of this decision may be intimated to this office within 30 days from the date of receipt of this letter.

(Harpal Singh)                  ( K.S. Grewal)                    ( Er. Ashok Goyal )

CAO/Member                Member/Independent            EIC/Chairman