PUNJAB STATE POWER CORPORATION LIMITED

FORUM FOR REDRESSAL OF GRIEVANCES OF CONSUMERS

P-1 WHITE HOUSE, RAJPURA COLONY, PATIALA

Case No.  CG-24 of 2013

Instituted on :    14.02.2013

Closed on  :   26.03.2013

Sh.Kartar Singh,                                                                                                                               129-C, Model Town,                                                                                                                                 Patiala.                                                                                                       Appellant

Name of the Op. Division:  	Comml. Divn. Patiala.

A/c No. MT-15/206

### Through

### Sh. Tejinder Singh , PR

### V/s

PUNJAB STATE POWER CORPORATION  LTD.	                               Respondent

Through

Er. Surinder Loomba, ASE / Comml. Divn. Patiala.

BRIEF HISTORY

Petition  No. CG-24 of 2013 dt. 14.02.2013 was filed against order dt. 21.12.2012  of the CDSC deciding  that the amount charged as per consumption of the consumer.

The consumer is having DS category connection bearing A/C No. MT-15/206 with sanctioned load of 7.5 KW running under AEE/Comml. East Sub-Divn. Patiala.

The consumer was  billed Rs.55,530/- in the month of 09/2012 for consumption of 8339 units. The bill was issued for the period of 111 days. The consumer requested the Sr.XEN/Comml..Patiala that his electricity bill for the period 07.06.2012 to 26.09.2012 was excessively high as compared to his previous bills and his case be put up to the CDSC. He also deposited Rs.11,502/- on 08.10.2012  i.e. 20% of the disputed amount. The CDSC heard the case on 19.12.2012 and decided that the amount charged to the consumer during this period is slightly higher than the previous year consumption and this case was not of meter jumping, so the amount charged for this period is as per consumption of  the consumer, hence recoverable from him. As per the decision of the CDSC, the AEE/Comml.East Sub-Divn.Patiala issued notice to the consumer vide notice No.100 dt.21.01.2013  that the balance amount i.e. Rs.44028/- be deposited otherwise his connection will be disconnected.

Not being satisfied with the decision of the CDSC, the appellant consumer filed an appeal in the Forum. The Forum heard the case on 05.03.2013, 14.03.2013  and finally on 26.03.2013 when the case was closed for passing speaking orders.

Proceedings:

i) On 05.03.2013, Representative of PSPCL submitted four copies of the reply and the same has been taken on record. One copy of the same has been handed over to the PR.

ii) On 14.03.2013, Representative of PSPCL intimated that the consumer has challenged the meter on dt.12.3.13 by depositing meter challenge fee of Rs.240/-. The meter will be replaced and will be got checked in ME Lab in the presence of Sr.XEN/Enf. and consumer and report will be submitted on the next date of hearing.

Representative of PSPCL is directed to submit upto date consumption data of the consumer on the next date of hearing.

iii) On 26.03.2013, In the proceeding dt. 14.03.2013, representative of PSPCL intimated that the consumer has challenged the meter on dt.12.3.13 by depositing meter challenge fee of Rs.240/-. The meter will be replaced and will be got checked in ME Lab in the presence of Sr.XEN/Enf. and consumer. The report will be submitted on the next date of hearing. Representative of PSPCL intimated that the meter has been replaced on dt.14.03.2013 and the same has been got checked in the presence of Sr.XEN/Enf. and consumer on dt.15.03.2013 in the ME Lab, Patiala and the meter has been reported to be dead stop. Further the DDL of the meter is not possible so could not be carried out.

PR contended that the consumption during the disputed period was recorded as 8339 Kwh which is very much on the higher side. The same was due to jumping of meter. So I submit  that  the account for this period be overhauled on the basis of the average consumption of the corresponding period of the last year.

Representative of PSPCL contended that the disputed bill for 111 days is prepared on the actual energy consumption recorded during peak summer months. So the amount as charged is recoverable.

Both the parties have nothing more to say and submit.

The case is closed for passing speaking orders.

Observations of the Forum:

After the perusal of petition, reply, proceedings, oral discussions and record made available, Forum observed as under:-

The consumer is having DS category connection bearing A/C No. MT-15/206 with sanctioned load of 7.5 KW running under AEE/Comml. East Sub-Divn. Patiala.

Written submission made in the petition, reply, written arguments of the respondents as well as petitioner and other material on record have been perused and carefully considered.

Forum observed that the consumer was billed for 8339 units for the period of 111 days i.e. from 07.06.2012 to 26.09.2012. The consumer made an appeal in the CDSC that the electricity bill for this period was excessively high as compared to his previous bills, so this was case of meter jump. The CDSC decided the case on 21.12.2012 that  the bill was issued for the units consumed by the consumer as the present consumption of 8339 units is slightly higher than his previous consumption. So, this case is not of meter jumping and the amount charged is correct and recoverable.

Forum further observed that the consumption recorded during the same period of previous year 2011 was 1513 units, 1961 units and 1728 units in the months of 06/2011, 08/2011 and 10/2011 respectively. It is very much clear from the above pattern of consumption that consumer had never consumed so excessively high consumption during the past. Further the load of the consumer is only 7.5 KW  and it is not possible  for the consumer,  with such small load to consume 8339 units in 111 days.

Further the meter was challenged by the consumer  by depositing meter challenge fee Rs.240/- on 12.03.2013, the meter was checked in the ME Lab by the Sr.XEN/Enforcement in the presence of the consumer on 15.03.2013. The ME Lab reported vide challan No.48/126 dt.15.03.2013 that the meter was dead stop. So the behaviour  of the meter during this particular period could not be authenticated in the ME Lab but the consumption pattern for the period June,2012 to change of meter indicate that the working of the meter during this period was erratic. As it showed the consumption of 8339 units in 111 days and 103 units in a period of nearly 3.5 months (101 days).  So Forum is of the view that billing for 8339 units during 07.06/2012 to 26.09.2012  is not justified.

Decision:

Keeping in view the petition, reply, oral discussions, and after hearing both the parties, verifying the record produced by them & observations of Forum, Forum decides that the account of the consumer for the period 07.06.2012 to date of change of meter i.e.14.03.2013 be overhauled on the basis of consumption recorded in the same months of the previous year. Forum further decides that the balance amount recoverable/refundable, if any, be recovered/refunded from/to the consumer alongwith interest/surcharge as per instructions of PSPCL.

(CA Harpal Singh)     	 	 (K.S. Grewal)                     		 (Er.Ashok Goyal)

Member/CAO	         Member/Independent         	   	CE/Chairman