Case No.CG-41 of 2011 (7.4.2011)   M/S Mithu Singh, Patiala.

PROCEEDINGS

PRESENT:

PETITIONER SIDE:  Sh. Mithu Singh, Petitioner

PSPCL SIDE:      Sh. Nishant Singla, AEE/West Comml. PTA.

Representative of PSPCL submitted authority letter in his favour duly signed by ASE/Comml.Division, Patiala to appear before the Forum and the same was taken on record. He also submitted four copies of  reply and the same was taken on record. One copy thereof was handed over to the Petitioner.

Sr.Xen/Op. is directed to appear in person on the next date of hearing alongwith all relevant record for oral discussions.

The case is adjourned to  20.4.2011 for submission of written arguments & oral discussions.

(CA Rakesh Puri)           ( Post Vacant)                 (Er. Satpal Mangla)

CAO/Member                   Member/Independent    CE/Chairman

Case No.CG-41 of 2011 (20.4.2011)   M/S Mithu Singh, Patiala.

(disputed amount Rs.7,650/-).

PROCEEDINGS

PRESENT:

PETITIONER SIDE:  Sh. Mithu Singh, Petitioner

PSPCL SIDE:      Er.Sandeep Puri, AEE/Comml.Front End S/D PTA.

Representative  of PSPCL submitted authority letter in his favour duly sigtned by ASE/Comml. Division, Patiala to appear before the Forum and the same was taken on record.

Representative of PSPCL stated that their reply may be treated as their written arguments.

Petitioner stated that their petition may be treated as their written arguments.

Representative of PSPCL stated that the disputed meter is still working satisfactory and its reading was 3518 KWH on 19.4.2011. On being asked by the forum regarding checking of meter in ME Lab. both petitioner and CR agreed for the same.

Both the parties have nothing more to say and submit and requested for close of the case.

Forum observed as under:

1.	The appellant consumer has been charged Rs.7650/- on account of actual consumption of 1487 units recorded by the meter for the month of 9/2010 with old reading as 1454 & new reading as 2941.

2.	The petitioner claims in his petition that due to flash of 66 KV line in his area on 21.9.10, some meter of consumers have burnt on that day and his meter reading suddenly jumped.

3.	DDSC got verified the fact regarding burning of meters in the area and it was confirmed that no complaint has been registered in this respect in the complaint register of concerned complaint Centre during Sep.2010.

4.	Petitioner has also put up a request on dated 24.9.2010 that his meter should be got checked from ME Lab. and he shall abide by the decision of the ME Lab.

5.	AEE/Comml. Front End S/D further confirmed that the same meter is working satisfactorily till date i.e. 20.4.11 & its reading is 3518 KWH on 19.4.11.

Keeping in view of the above arguments, written statements, and hearing both the parties, Forum decides that Sr.Xen/Comml. Division to get the meter tested from ME Lab. after getting necessary testing fees deposited from the petitioner and accordingly decides the case as per ME Lab. report.

(CA Parveen Singla)        ( Post Vacant)                 (Er. Satpal Mangla)

CAO/Member                   Member/Independent       CE/Chairman