## 2018-19
Sr.No. | Name of Project | Type of Project | Capacity (MW) | PLF(%) | Expected Generation (Mus) in FY 2018-19 | calculated Mus in FY 2019-20 | Expected Generation (Mus) in FY 2019-20 | calculated Mus in FY 2020-21 | Expected Generation (Mus) in FY 2020-21 | Expected Generation (Mus) in FY 2021-22 | Expected Generation (Mus) in FY 2022-23 | whether project within punjab or outside punjab | Tariff in Rs. Per kWh | Expected date of Commissioning
1 | M/s Paradise PowerGeneration Pvt. Ltd, Chandigarh. | MHP | 0.35 | 50 | 0.0766 | 1.5372 | 1.5 | 1.533 | 1.5 | 1.5 | 1.5 | within punjab | 3.7
2 | M/s Salasar Hydro Urja Pvt. Ltd, Moga | MHP | 1.5 | 50 | 0.3289 | 6.588 | 6.5 | 6.57 | 6.5 | 6.5 | 6.5 | within punjab | 3.65
3 | M/s Hydro energy &Infrastructure, VillBhumsi, Tehsil Malerkotla, Distt. Sangrur. | MHP | 0.25 | 50 | 0.0547 | 1.098 | 1 | 1.095 | 1 | 1 | 1 | within punjab | 6
4 | M/s Kotla Renewable Pvt. Ltd. MHP-Thuhi (2x400kW) on ROT basis. | MHP | 0.8 | 50 | 0.3504 | 3.5136 | 3.5 | 3.504 | 3.5 | 3.5 | 3.5 | within punjab | 2.86
5 | M/S Shree Ganesh Edibles Pvt. Ltd | Co-gen | 0.5 | 53 | 0.7736 | 2.3278 | 2.3208 | 2.3214 | 2.3 | 2.3 | 2.3 | within punjab | 5.08
6 | M/s Indian Sucrose | Co-gen | 24 | 53 | 0 | 111.7325 | 27.8568 | 111.4272 | 111.4 | 111.4 | 111.4 | within punjab | 6.22 | 2020-10-01
7 | m/s Greenplanet Manuke | IPP | 6 | 80 | 0 | 24.192 | 10.368 | 42.048 | 42 | 42 | 42 | within punjab | 7.46 | 2019-08-01
8 | M/s Bhogpur Coperative sugar Mill | Co-gen | 8.54 | 53 | 0 | 37.5077 | 9.9123 | 39.6495 | 39.6 | 39.6 | 39.6 | within punjab | 6.29 | 2019-10-01
1 | M/S Himalyan Renewable Energy Pvt. Ltd, Sangrur | MHP | 0.6 | 50 | 0 | 2.6352 | 1.5768 | 2.628 | 2.6 | 2.6 | 2.6 | within punjab | 3.81
2 | M/s Preetech Power Pvt. Ltd, Batala. | MHP | 0.8 | 50 | 0 | 3.5136 | 2.2332 | 3.504 | 3.5 | 3.5 | 3.5 | within punjab | 4.88
3 | M/s Preetech Power Pvt. Ltd, Batala. | MHP | 0.85 | 50 | 0 | 3.7332 | 1.0512 | 3.723 | 3.7 | 3.7 | 3.7 | within punjab | 4.88
4 | M/s Atlantic Power Pvt. Ltd., Panchkula.MHP on NakkianKhad | MHP | 0.3 | 50 | 0 | 1.3176 | 0.4599 | 1.314 | 1.3 | 1.3 | 1.3 | within punjab | 6
5 | Solar Energy Corporation of India Ltd. (SECI) | Wind Power | 50 | 36 | 0 | 131.76 | 125 | 157.68 | 157 | 157 | 157 | outside punjab | 2.72 | 2019-04-01
6 |  | Wind Power | 100 | 36 | 0 | 263.52 | 250 | 315.36 | 314 | 314 | 314 | outside punjab | 2.72 | 2019-05-01
7 | Solar Energy Corporation of India Ltd. (SECI) | Wind Power | 200 | 38 | 0 | 527.04 | 165 | 665.76 | 662 | 662 | 662 | outside punjab | 2.52 | 2019-11-01
8 | Sukhbir Agro Energy, Faridkot | Biomass | 15 | 80 | 0 | 105.408 | 32 | 105.12 | 105 | 105 | 105 | within punjab | 8.16
9 | Sukhbir Agro Energy, Ferozpur | Biomass | 15 | 80 | 0 | 105.408 | 32 | 105.12 | 105 | 105 | 105 | within punjab | 8.16
10 | NTPC Wind power | Wind | 200 | 39 | 0 | 527.04 | 0 | 683.28 | 300 | 683 | 683 | within punjab | 2.87 | 2020-10-01
11 | M/s SAB Ind Moonak | Biogas | 1.5 | 90 |  | 11.8584 | 0 | 11.826 | 0 | 10 | 10 | within punjab | 7.05
12 | M/s Sukhbir Agro Jalkheri | Biomass | 10 | 80 |  | 70.272 | 0 | 70.08 | 0 | 32 | 48 | within punjab | 5.84
13 | M/s Shree Ganesh Edibles Co-gen | Co-gen | 12.5 | 80 |  | 87.84 |  | 87.6 |  |  |  | within punjab
| Total |  | 648.49 |  | 0 |  | 672.279 |  | 1861.9 | 2286.9 | 2302.9 | within punjab
LIST OF UPCOMING SOLAR PROJECTS
1 | Photon Suryodaya Pvt. Ltd. | Solar | 50 | 19 | 0 |  | 54 | 83.22 | 83 | 83 | 83 | within punjab | 5.27
2 | Photon Ojas Pvt. Ltd. | Solar | 50 | 19 | 0 |  | 54 | 83.22 | 83 | 83 | 83 | within punjab | 5.09
3 | Photon Sunbeam Pvt. Ltd. | Solar | 10 | 19 | 0 |  | 12 | 16.644 | 16.5 | 16.5 | 16.5 | within punjab | 5.57
4 | NTPC | Solar | 300 | 29 | 0 |  | 0 | 762.12 | 0 | 762 | 762 | outside punjab | 2.67 | 2021-04-01
5 | PEDA | Solar | 425 | 19 | 0 |  | 0 | 707.37 | 0 | 0 | 700
6 | SECI |  | 600 | 24 | 0 |  | 0 | 1261.44 | 500 | 1366 | 1366
| Total |  | 1435 |  | 0 |  | 120 |  | 182.5 | 2310.5 | 3010.5
|  | Net Shortfall (2-4) | MUs |  | 317 |  | 840 |  | 1054 | 1376
|  | (At CUF 24% min. as per NTPC PSA) | MW |  | 151 |  | 382 |  | 484 | 638

## as on 9.9.19
Sr.No. | Name of Project | Type of Project | Capacity (MW) | PLF(%) | Expected Generation (Mus) in FY 2018-19 | calculated Mus in FY 2019-20 | Expected Generation (Mus) in FY 2019-20 | calculation for reference | Expected Generation (Mus) in FY 2020-21 | Expected Generation (Mus) in FY 2021-22 | Expected Generation (Mus) in FY 2022-23 | whether project within punjab or outside punjab | Tariff in Rs. Per kWh | Expected date of Commissioning
1 | M/s Paradise PowerGeneration Pvt. Ltd, Chandigarh. | MHP | 0.35 | 50 | 0.0766 | 1.5372 | 1.5 | 1.533 | 1.5 | 1.5 | 1.5 | within punjab | 3.7
2 | M/s Salasar Hydro Urja Pvt. Ltd, Moga | MHP | 1.5 | 50 | 0.3289 | 6.588 | 6.5 | 6.57 | 6.5 | 6.5 | 6.5 | within punjab | 3.65 | 2020-01-01
3 | M/s Hydro energy &Infrastructure, VillBhumsi, Tehsil Malerkotla, Distt. Sangrur. | MHP | 0.25 | 50 | 0.0547 | 1.098 | 1 | 1.095 | 1 | 1 | 1 | within punjab | 6 | 2020-03-01
4 | M/s Kotla Renewable Pvt. Ltd. MHP-Thuhi (2x400kW) on ROT basis. | MHP | 0.8 | 50 | 0.3504 | 3.5136 | 3.5 | 3.504 | 3.5 | 3.5 | 3.5 | within punjab | 2.86 | 2020-08-01
5 | M/s Indian Sucrose | Co-gen | 24 | 53 | 0 | 111.7325 | 0 | 111.4272 | 111.4 | 111.4 | 111.4 | within punjab | 6.22 | 2020-04-01
6 | m/s Greenplanet Manuke | IPP | 6 | 80 | 0 | 24.192 | 10.368 | 42.048 | 42 | 42 | 42 | within punjab | 7.46 | 2019-09-01
7 | M/s Bhogpur Cop.sugar Mill | Co-gen | 8.54 | 53 | 0 | 37.5077 | 9.9123 | 39.6495 | 39.6 | 39.6 | 39.6 | within punjab | 6.29 | 2019-10-01
8 | M/S Himalyan Renewable Energy Pvt. Ltd, Sangrur | MHP | 0.6 | 50 | 0 | 2.6352 | 1.5768 | 2.628 | 2.6 | 2.6 | 2.6 | within punjab | 3.81 | 2019-09-01
9 | M/s Preetech Power Pvt. Ltd, Batala. | MHP | 0.8 | 50 | 0 | 3.5136 | 2.2332 | 3.504 | 3.5 | 3.5 | 3.5 | within punjab | 4.88 | 2019-09-01
10 | M/s Preetech Power Pvt. Ltd, Batala. | MHP | 0.85 | 50 | 0 | 3.7332 | 1.0512 | 3.723 | 3.7 | 3.7 | 3.7 | within punjab | 4.88
11 | M/s Atlantic Power Pvt. Ltd., Panchkula.MHP on NakkianKhad | MHP | 0.3 | 50 | 0 | 1.3176 | 0.4599 | 1.314 | 1.3 | 1.3 | 1.3 | within punjab | 6 | 2019-09-01
12 | Solar Energy Corporation of India Ltd. (SECI) | Wind Power | 50 | 36 | 0 | 131.76 | 125 | 157.68 | 157 | 157 | 157 | outside punjab | 2.72 | 2019-04-01
13 |  | Wind Power | 100 | 36 | 0 | 263.52 | 250 | 315.36 | 314 | 314 | 314 | outside punjab | 2.72 | 2019-05-01
14 | Solar Energy Corporation of India Ltd. (SECI) | Wind Power | 200 | 38 | 0 | 527.04 | 165 | 665.76 | 662 | 662 | 662 | outside punjab | 2.52 | 2019-11-01
15 | Sukhbir Agro Energy, Faridkot | Biomass | 15 | 80 | 0 | 105.408 | 32 | 105.12 | 105 | 105 | 105 | within punjab | 8.16
16 | Sukhbir Agro Energy, Ferozpur | Biomass | 15 | 80 | 0 | 105.408 | 32 | 105.12 | 105 | 105 | 105 | within punjab | 8.16
17 | NTPC Wind power | Wind | 200 | 39 | 0 | 527.04 | 0 | 683.28 | 300 | 683 | 683 | within punjab | 2.87 | 2020-10-01
18 | M/s SAB Ind Moonak | Biogas | 1.5 | 90 |  | 11.8584 | 0 | 11.826 | 0 | 10 | 10 | within punjab | 7.05 | 2021-04-01
19 | M/s Sukhbir Agro Jalkheri | Biomass | 10 | 80 |  | 70.272 | 0 | 70.08 | 0 | 32 | 48 | within punjab | 5.84 | 2021-10-01
20 | M/s Shree Ganesh (not final) | Co-gen | 12.5 | 80 |  | 0 | 0 | 87.6 | 0 | 0 | 0 | within punjab
21 | SECI-Wind (100/500 MW) Hybd | wind | 100 | 30 |  | 0 | 0 | 262.8 | 0 | 262.9 | 262.9 |  |  | 2021-04-01
| Total |  | 647.99 |  | 0 |  | 642.1014 |  | 1859.6 | 2547.5 | 2563.5 | within punjab
LIST OF UPCOMING SOLAR PROJECTS
1 | Photon Suryodaya Pvt. Ltd. | Solar | 50 | 19 | 0 |  | 54 | 83.22 | 83 | 83 | 83 | within punjab | 5.27
2 | Photon Ojas Pvt. Ltd. | Solar | 50 | 19 | 0 |  | 54 | 83.22 | 83 | 83 | 83 | within punjab | 5.09
3 | Photon Sunbeam Pvt. Ltd. | Solar | 10 | 19 | 0 |  | 12 | 16.644 | 16.5 | 16.5 | 16.5 | within punjab | 5.57
4 | NTPC | Solar | 300 | 29 | 0 |  | 0 | 762.12 | 0 | 762 | 762 | outside punjab | 2.67 | 2021-04-01
5 | PEDA | Solar | 425 | 19 | 0 |  | 0 | 707.37 | 0 | 0 | 0
6 | SECI-Solar (400/500 MW) hybd |  | 400 | 30 | 0 |  | 0 | 1051.2 | 0 | 1051.2 | 1051.2 |  |  | 2021-04-01 | Case under process
| Total |  | 1235 |  | 0 |  | 120 |  | 182.5 | 1995.7 | 1995.7
|  | Net Shortfall (2-4) | MUs |  | 317 |  | 840 |  | 1054 | 1376
|  | (At CUF 24% min. as per NTPC PSA) | MW |  | 151 |  | 382 |  | 484 | 638

## 2019-20
LIST OF UPCOMING PROJECTS in 2019-20
Sr.No. | Name of Project | Type of Project | Capacity (MW) | Expected Generation (Mus) in FY 2019-20 | Gross amount in Crores. | Tariff in Rs. Per kWh
1 | M/s Paradise PowerGeneration Pvt. Ltd, Chandigarh. | MHP | 0.35 | 0.9192 | 0.3401 | 3.7
2 | M/s Salasar Hydro Urja Pvt. Ltd, Moga | MHP | 1.5 | 3.9468 | 1.4406 | 3.65
3 | M/s Hydro energy &Infrastructure ,VillBhumsi, Tehsil Malerkotla, Distt. Sangrur. | MHP | 0.25 | 0.6564 | 0.39384 | 6
4 | M/s Kotla Renewable Pvt. Ltd. MHP-Thuhi (2x400kW) on ROT basis. | MHP | 0.8 | 1.927 | 0.55112 | 2.86
5 | M/s Indian Sucrose | Co-gen | 24 | 27.8568 | 17.3269 | 6.22
6 | m/s Greenplanet Manuke | IPP | 6 | 28.908 | 17.4425 | yet to be decided but,assumed 6.25
7 | M/s BhogpurCoperative sugar Mill | Co-gen | 8.54 | 9.9123 | 6.2348 | 6.29
TOTAL |  |  | 41.44 | 74.1265 | 43.7299
LIST OF UPCOMING PROJECTS in 2019-20
1 | M/S Himalyan Renewable Energy Pvt. Ltd, Sangrur | MHP | 0.6 | 1.5768 | 0.60076 | 3.81
2 | M/s Preetech Power Pvt. Ltd, Batala. | MHP | 0.8 | 2.2332 | 1.0898 | 4.88
3 | M/s Preetech Power Pvt. Ltd, Batala. | MHP | 0.85 | 1.0512 | 0.51299 | 4.88
4 | M/s Atlantic Power Pvt. Ltd., Panchkula.MHP on NakkianKhad | MHP | 0.3 | 0.4599 | 0.27594 | 6
5 | Solar Energy Corporation of India Ltd. (SECI) | Wind Power | 50 | 98.55/131.4 | #VALUE! | 2.72
6 |  | Wind Power | 100 | 197.1 | 53.6112 | 2.72
7 | Solar Energy Corporation of India Ltd. (SECI) | Wind Power | 200 | 131.4 | 33.1128 | 2.52
8 | Sukhbir Agro Energy, Faridkot | Biomass | 15 | 25.92 | 21.1507 | 8.16
9 | Sukhbir Agro Energy, Ferozpur | Biomass | 15 | 25.92 | 21.1507 | 8.16
| Total |  | 382.55 | 385.6611 | #VALUE!
Grand total of Generation expected from upcoming projects |  |  |  | 459.7876 | #VALUE!
LIST OF UPCOMING SOLAR PROJECTS in 2019-20
1 | Photon Suryodaya Pvt. Ltd. | Solar | 50 | 37.5 | 19.7625 | 5.27
2 | Photon Ojas Pvt. Ltd. | Solar | 50 | 0 |  | 5.09
3 | Photon Sunbeam Pvt. Ltd. | Solar | 10 | 0 |  | 5.57
| Total |  | 110 | 37.5 | 19.7625

## Annexure-P
| List of Upcoming Renewable Energy Projects Yearwise | [6 empty] | Annexure P
Sr.No. | Name of Project | Type of Project | Capacity (MW) | Expected Generation (Mus) in FY 2019-20 | Expected Generation (Mus) in FY 2020-21 | Expected Generation (Mus) in FY 2021-22 | Expected Generation (Mus) in FY 2022-23 | Tariff in Rs. Per kWh
List of upcoming Non-Solar Projects
1 | M/s Paradise PowerGeneration Pvt. Ltd, Chandigarh. | MHP | 0.35 | 0 | 1.5 | 1.5 | 1.5 | 3.7
2 | M/s Salasar Hydro Urja Pvt. Ltd, Moga | MHP | 1.5 | 0 | 6.5 | 6.5 | 6.5 | 3.65
3 | M/s Hydro energy &Infrastructure, VillBhumsi, Tehsil Malerkotla, Distt. Sangrur. | MHP | 0.25 | 0 | 1 | 1 | 1 | 5.54
4 | M/s Kotla Renewable Pvt. Ltd. MHP-Thuhi (2x400kW) on ROT basis. | MHP | 0.8 | 2.04 | 3.5 | 3.5 | 3.5 | 2.86
5 | M/s Indian Sucrose | Co-gen | 24 | 0 | 111.4 | 111.4 | 111.4 | 6.22
6 | m/s Greenplanet Manuke | IPP | 6 | 0 | 42 | 42 | 42 | 7.46
7 | M/s Bhogpur Cop.sugar Mill | Co-gen | 8.54 | 0 | 39.6 | 39.6 | 39.6 | 6.29
8 | M/S Himalyan Renewable Energy Pvt. Ltd, Sangrur | MHP | 0.6 | 0 | 2.6 | 2.6 | 2.6 | 3.81
9 | M/s Preetech Power Pvt. Ltd, Batala. | MHP | 0.8 | 2.04 | 3.5 | 3.5 | 3.5 | 4.88
10 | M/s Preetech Power Pvt. Ltd, Batala. | MHP | 0.85 | 0 | 3.7 | 3.7 | 3.7 | 4.88
11 | M/s Atlantic Power Pvt. Ltd., Panchkula.MHP on NakkianKhad | MHP | 0.3 | 0 | 1.3 | 1.3 | 1.3 | 6
12 | Solar Energy Corporation of India Ltd. (SECI) | Wind Power | 50 | 64 | 157 | 157 | 157 | 2.72
13 |  | Wind Power | 100 | 100 | 314 | 314 | 314 | 2.72
14 | Solar Energy Corporation of India Ltd. (SECI) | Wind Power | 200 | 219 | 662 | 662 | 662 | 2.52
15 | Sukhbir Agro Energy, Faridkot | Biomass | 15 | 43.8 | 105 | 105 | 105 | 8.16
16 | Sukhbir Agro Energy, Ferozpur | Biomass | 15 | 43.8 | 105 | 105 | 105 | 8.16
17 | NTPC Wind power | Wind | 200 | 0 | 300 | 683 | 683 | 2.87
18 | M/s SAB Ind Moonak | Biogas | 1.5 | 0 | 0 | 10 | 10 | 7.05
19 | M/s Sukhbir Agro Jalkheri | Biomass | 10 | 0 | 0 | 32 | 48 | 5.84
20 | SECI-Wind (100/500 MW) Hybrid( in pipe line) | wind | 100 | 0 | 0 | 262.9 | 262.9 | 2.76
| Total |  | 735.49 | 474.68 | 1859.6 | 2547.5 | 2563.5
LIST OF UPCOMING SOLAR PROJECTS
1 | Photon Suryodaya Pvt. Ltd. | Solar | 50 | 0 | 0 | 83 | 83 | 5.27
2 | Photon Ojas Pvt. Ltd. | Solar | 50 | 0 | 0 | 83 | 83 | 5.09
3 | Photon Sunbeam Pvt. Ltd. | Solar | 10 | 0 | 0 | 16.5 | 16.5 | 5.57
4 | NTPC | Solar | 300 | 0 | 0 | 762 | 762 | 2.67
5 | PEDA (in pipeline) | Solar | 425 | 0 | 0 | 0 | 707 | 3.2
6 | SECI-Solar (400/500 MW) hybd (in pipe line) | Solar | 400 | 0 | 0 | 1051.2 | 1051.2 | 2.76
7 | Solar Rooftop netmeteing | Solar | 30 MW/yr | 100 | 150 | 200 | 250 | 0
8 | Farmers solar scheme 2015 (in pipe line ) | Solar | 100 MW | 0 | 0 | 166 | 166 | 3.2
9 | Govt. producers scheme (in pipe line) | Solar | 20 MW/yr | 0 | 33 | 66 | 82 | 0
10 | Solarisation of pumps (central govt scheme) ( in pipeline) | Solar | 10 MW/yr | 0 | 0 | 17 | 34 | 0
| Total |  | 1235 | 100 | 183 | 2444.7 | 3234.7
|  | Net Shortfall (2-4) | MUs | 840 | 1054 | 1376
|  | (At CUF 24% min. as per NTPC PSA) | MW | 382 | 484 | 638
Note on E32: Author: taken as record from o/o bill upto october i.e 73 + 27=100 Mus.