## Abstract
Annexure-C
S.NO. | PARTICULARS FOR 2019-20 H1 | ENERGY MU | Reference
1 | ENERGY MEASURED BY PSTCL AT (TRANSMISSION TO DISTRBUTION) | 32058.584 | Annex-C1
2 | ENERGY OF POINTS EXCLUDED BY PSTCL (INJECTION AT BBMB SUBSTATIONS+ GENERATING TO INTERSTATE POINTS) | 3684.0307 | Annex-C2
3 | NRSE ENERGY WITHIN STATE | 1095.5165 | Annex-C3
4 | TRANSMISSION LOSSES CALCULATED BY PSTCL | 866.8892 | Annex-C4
5 | TOTAL ENERGY AT PUNJAB PERIPHERY PSTCL | 37705.0204
6 | AVAILABILITY AT PUNJAB PEIPHERY PSPCL | 36438.8685 | Annex-C3
7 | Error Margin (+/-) in Mus | -1266.1519
8 | %age Error Margin (+/-) | -3.475%
%age Error (+/-) may be due to different sets of equipements used by NRPC and PSTCL, Use of Convenetional energy meters of PSPCL against ABT meters at various Stations.
Net Input Energy taken by PSTCL is the energy input to only 400/220/132 KV network. However injection at BBMB substations+ Generating to interstate points remain un-accounted.

## Annex-1
Annex-C1
Energy Flow through T-D PSTCL Network for FY 2019-20 H1.
Month | Net Energy Flow through T-D PSTCL Network for FY 2019-20 H1, MWHR
| Import | Export | Net (Export-Import)
2019-04-01 | 72663.761 | 3205042.496 | 3132378.735
2019-05-01 | 69479.864 | 4235854.218 | 4166374.354
2019-06-01 | 45992.314 | 6042197.349 | 5996205.035
2019-07-01 | 38234.357 | 6539418.496 | 6501184.139
2019-08-01 | 44504.686 | 6346423.139 | 6301918.453
2019-09-01 | 43514.686 | 6004037.993 | 5960523.307
TOTAL MWHR |  |  | 32058584.023
TOTAL MUS |  |  | 32058.584

## Annex-2
Generation-Distribution Boundary Points | [5 empty] | Annexure C-2
Serial No | Station Name | Device Type | Feeder Name | Boundary Type | Voltage Level | Total Consumption during 19-20 up to September 19 KWH
1 | UBDC HEP, 132 kV UBDC Sarna PH 3 | Transmission Line | 66 kV DinaNagar | G-D | 66kV | 49386000
2 | UBDC HEP, 132 kV UBDC Sarna PH 3 | Transmission Line | 66 kV Sujanpur | G-D | 66kV | 35883200
3 | UBDC HEP, 132 kV UBDC Sarna PH 3 | Transmission Line | 66 kV RSD Ckt-I | G-D | 66kV | 15597120
4 | UBDC HEP, 132 kV UBDC Sarna PH 3 | Transmission Line | 66 kV RSD Ckt-II | G-D | 66kV | 79274000
5 | UBDC HEP, 132 kV UBDC Sarna PH 3 | Transmission Line | 66 kV Narot Jamil Singh | G-D | 66kV | 28359000
6 | UBDC HEP, 132 kV UBDC Sarna PH 3 | Transmission Line | 66 KV Gobindsar | G-D | 66kV | 24713000
7 | 220 kV GHTP, Lehra Mohabat | Transmission Line | 66 kV Balianwali | G-D | 66kV | 70112000
8 | 220 kV GHTP, Lehra Mohabat | Transmission Line | 66 kV BCF (Vikram Cement Factory) | G-D | 66kV | 18421939.4
9 | 220 kV GHTP, Lehra Mohabat | Transmission Line | 66 kV Bhairupa | G-D | 66kV | 87298000
10 | 220 kV GHTP, Lehra Mohabat | Transmission Line | 66 kV L.Mohabbat | G-D | 66kV | 1190500
11 | 220 kV GHTP, Lehra Mohabat | Transmission Line | 66 kV Bhuchho Mandi | G-D | 66kV | 93414800
12 | 220 kV GHTP, Lehra Mohabat | Transmission Line | 66 kV Rampura | G-D | 66kV | 761780000
13 | 220 kV GHTP, Lehra Mohabat | Transmission Line | 66 kV Nathana | G-D | 66kV | 79039000
14 | 220 kV GHTP, Lehra Mohabat | Transmission Line | 66 kV Phul | G-D | 66kV | 114759692
15 | 220 kV GNDTP, Bathinda | Transmission Line | 132 kV NFL-1 | G-D | 132kV | 7050960
16 | 220 kV GNDTP, Bathinda | Transmission Line | 132 kV NFL-2 | G-D | 132kV | 504180
17 | 220 kV GNDTP, Bathinda | Transmission Line | 132 kV Cantt | G-D | 132kV | 30814000
18 | 220 kV GNDTP, Bathinda | Transmission Line | 66 kV Malout-1 | G-D | 66kV | 129488000
19 | 220 kV GNDTP, Bathinda | Transmission Line | 66 kV Malout-2 | G-D | 66kV | 130721600
20 | 220 kV GNDTP, Bathinda | Transmission Line | 66 kV C Compound | G-D | 66kV | 59682000
21 | 220 kV GNDTP, Bathinda | Transmission Line | 66 kV MES 1 | G-D | 66kV | 129488000
22 | 220 kV GNDTP, Bathinda | Transmission Line | 66 kV MES 2 | G-D | 66kV | 130721600
23 | Mukerian HEP, 132 kV Mukerian PH 4 | Transmission Line | 66 kV Dasuya-2 | G-D | 66kV | 38000
24 | Mukerian HEP, 132 kV Mukerian PH 4 | Transmission Line | 66 kV Mukerian-2 | G-D | 66kV | 36484560
25 | Mukerian HEP, 132 kV Mukerian PH 4 | Transmission Line | 66 kV Mukerian-1 | G-D | 66kV | 45828480
26 | Mukerian HEP, 132 kV Mukerian PH 4 | Transmission Line | 66 kV Ghogra | G-D | 66kV | 159341040
27 | Mukerian HEP, 132 kV Mukerian PH 4 | Transmission Line | 66 kV Paper Mill | G-D | 66kV | -7917280
28 | Mukerian HEP, 132 kV Mukerian PH 4 | Transmission Line | 66 kV Dasuya-1 | G-D | 66kV | 22080
29 | Mukerian HEP Stage-II , 66 kV Mukerian PH 5 | Transmission Line | 66 kV Bhattian Jattan | G-D | 66kV | 33970100
30 | GGSSTP Ropar | Transmission Line | 132 kV G.AmbujAa | G-D | 132kV | 7977400
[5 empty] | TOTAL MUS | 2353.443
List of Interstate points of Punjab state
Serial No. | Utilty Name | Station Name | Device Type | Feeder Name | Boundary Type | Total Consumption during 19-20 up to September 19 KWH
1 | PSPCL | 132 kV Shanan HEP | Transmission Line | 132 kV Bassi-1 | I-G | 5078120
2 | PSPCL | 132 kV Shanan HEP | Transmission Line | 132 kV Bassi-2 | I-G | 5013272
3 | PSPCL | 132 kV Shanan HEP | Transmission Line | 66 kV Mandi | I-G | 19039920
4 | PSPCL | 132 kV Shanan HEP | Transmission Line | 33 kV Bijni (Mandi) | I-G | 58230
5 | PSPCL | 220 kV Ranjit Sagar HEP | Transmission Line | 220 kV HP Feeder (Jessore) | I-G | 112000000
6 | PSPCL | UBDC HEP, 132 kV UBDC Sarna PH 3 | Transmission Line | 66 kV Kathua (J&K) | I-G | 20847000
7 | PSPCL | 220 kV GHTP, Lehra Mohabat | Transmission Line | 220 kV Barnala(BBMB) | I-G | 101588480
8 | PSPCL | 132 kV Pathankot | Transmission Line | 66 kV Kathua | I-D | 21017000
9 | PSTCL | 220 kV Dasuya | Transmission Line | 220 kV Railway | I-D | 10333080
10 | BBMB | 220 kV Jalandhar | Transmission Line | Alwalpur | I-D | 152994504.009
11 | BBMB | 220 kV Jalandhar | Power Transformer | 220/66 kV T1 (HV) | I-D | 198356915.926
12 | BBMB | 220 kV Jalandhar | Power Transformer | 220/66 kV T2 (HV) | I-D | 197856857.978
13 | BBMB | 220 kV Pong | Transmission Line | 66 kV Talwara | I-D | 32064178.914
14 | BBMB | 220 kV Jamalpur | Power Transformer | 220/66 kV T1 (HV) | I-D | 267873221.959
15 | BBMB | 220 kV Jamalpur | Power Transformer | 220/66 kV T2 (HV) | I-D | 265832291.994
16 | BBMB | 220 kV Jamalpur | Power Transformer | 220/66 kV T3 (HV) | I-D | 122193480.059
17 | PSPCL | 66 kV Nangal | Transmission Line | 66 kV Bhakra | I-D | 166883011.2
18 | BBMB | 132 kV Ganguwal | Transmission Line | 33 kV Nurpurbedi | I-D | 4222800
19 | BBMB | 220 kV Sangrur | Power Transformer | 220/66 kV T1 (HV) | I-D | 43478249.996
20 | BBMB | 220 kV Sangrur | Power Transformer | 220/66 kV T2 (HV) | I-D | 43448295.002
21 | BBMB | 220 kV Sangrur | Power Transformer | 220/66 kV T3 (HV) | I-D | 67658874.015
[5 empty] | TOTAL MUS(ID-IG) | 1330.5877

## Annex-3
ENERGY AVAILABILITY for the FY 2019-20 (in MUs) | [7 empty] | Annexure C-3
Sr. No. | GENERATING STATION | Type of Plant | 2019-04-01 | 2019-05-01 | 2019-06-01 | 2019-07-01 | 2019-08-01 | 2019-09-01 | 2019-10-01 | 2019-11-01 | 2019-12-01 | 2020-01-01 | 2020-02-01 | 2020-03-01 | Total
1 | OWN GENERATION |  | Prov. REA | Prov. REA | Prov. REA | Prov. REA | Prov. REA Amnd2 | Prov. REA | Prov. REA | Prov. REA | Prov. REA | Prov. REA | Prov. REA | Prov. REA
1.1 | THERMAL
| I)GNDTP | Thermal | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ii)GGSSTP | Thermal | 7.33 | 6.305 | 273.514 | 347.005 | 164.454 | 198.768 | 0 | 0 | 0 | 0 | 0 | 0 | 997.376
| iii)GHTP | Thermal | 86.4686 | 0 | 269.4807 | 247.062 | 145.1926 | 128.027 | 0 | 0 | 0 | 0 | 0 | 0 | 876.2308
| Total Thermal (Gross) |  | 93.7986 | 6.305 | 542.9947 | 594.067 | 309.6466 | 326.795 | 0 | 0 | 0 | 0 | 0 | 0 | 1873.6068
1.2 | Aux.&Transformation Losses
| GNDTP | Thermal | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| GGSSTP | Thermal | 3.4699 | 3.4596 | 27.1592 | 31.8794 | 16.197 | 18.7793 | 0 | 0 | 0 | 0 | 0 | 0 | 100.9444
| GHTP | Thermal | 9.9152 | 2.6068 | 25.3117 | 23.7607 | 15.8061 | 14.2491 | 0 | 0 | 0 | 0 | 0 | 0 | 91.6495
| Total Thermal Losses |  | 13.3851 | 6.0664 | 52.4709 | 55.6401 | 32.0031 | 33.0284 | 0 | 0 | 0 | 0 | 0 | 0 | 192.5939
1.3 | Net Thermal Generation (1.1-1.2) |  | 80.4135 | 0.23864 | 490.5238 | 538.4269 | 277.6435 | 293.7666 | 0 | 0 | 0 | 0 | 0 | 0 | 1681.0129
1.4 | HYDEL
| I)Shanan | Hydro | 62.407 | 79.718 | 76.733 | 79.655 | 73.465 | 63.62 | 0 | 0 | 0 | 0 | 0 | 0 | 435.598
| ii)UBDC | Hydro | 21.768 | 47.062 | 52.562 | 55.145 | 50.459 | 55.259 | 0 | 0 | 0 | 0 | 0 | 0 | 282.255
| iii)Mukerian (MHP) | Hydro | 12.161 | 92.756 | 109.109 | 113.835 | 105.53 | 144.052 | 0 | 0 | 0 | 0 | 0 | 0 | 577.443
| iv)ASHP | Hydro | 25.596 | 83.027 | 85.405 | 78.54 | 88.695 | 85.799 | 0 | 0 | 0 | 0 | 0 | 0 | 447.062
| v)RSD | Hydro | 164.17 | 282.24 | 268.4 | 206.351 | 273.786 | 184.498 | 0 | 0 | 0 | 0 | 0 | 0 | 1379.445
| vi)Micro | Hydro | 0.43188 | 0.4454 | 0.64668 | 0.71527 | 0.35371 | 0.44477 | 0 | 0 | 0 | 0 | 0 | 0 | 3.0377
| Total Hydel (Gross) |  | 286.5339 | 585.2484 | 592.8557 | 534.2413 | 592.2887 | 533.6728 | 0 | 0 | 0 | 0 | 0 | 0 | 3124.8407
1.5 | Aux.&Transformation Losses
| Shanan | Hydro | 0.861 | 1.181 | 1.184 | 1.082 | 1.084 | 0.958 | 0 | 0 | 0 | 0 | 0 | 0 | 6.35
| UBDC | Hydro | 0.131 | 0.249 | 0.265 | 0.277 | 0.256 | 0.278 | 0 | 0 | 0 | 0 | 0 | 0 | 1.456
| MHP | Hydro | 0.306 | 1.636 | 2.03 | 2.157 | 1.895 | 2.51 | 0 | 0 | 0 | 0 | 0 | 0 | 10.534
| ASHP | Hydro | 0.069 | 0.193 | 0.197 | 0.197 | 0.212 | 0.204 | 0 | 0 | 0 | 0 | 0 | 0 | 1.072
| RSPP | Hydro | 0.54 | 0.94 | 0.89 | 0.688 | 0.91 | 0.613 | 0 | 0 | 0 | 0 | 0 | 0 | 4.581
| Micro | Hydro | 0.02622 | 0.02541 | 0.03316 | 0.036662 | 0.018793 | 0.019974 | 0 | 0 | 0 | 0 | 0 | 0 | 0.16022
| Total Hydro Losses |  | 1.9332 | 4.2244 | 4.5992 | 4.4377 | 4.3758 | 4.583 | 0 | 0 | 0 | 0 | 0 | 0 | 24.1532
1.6 | Net Hydel Generation (1.4-1.5) |  | 284.6007 | 581.024 | 588.2565 | 529.8036 | 587.9129 | 529.0898 | 0 | 0 | 0 | 0 | 0 | 0 | 3100.6875
1.7 | Total Net Own Generation (Thermal+Hydel) (1.3+1.6) |  | 365.0141 | 581.2626 | 1078.7803 | 1068.2305 | 865.5564 | 822.8564 | 0 | 0 | 0 | 0 | 0 | 0 | 4781.7004
2 | PSPCL share from BBMB
| I)Bhakhra | Hydro | 141.0315 | 275.3407 | 349.8759 | 294.1923 | 394.0172 | 352.6876 | 0 | 0 | 0 | 0 | 0 | 0 | 1807.1452
| ii)Dehar | Hydro | 163.7587 | 157.5214 | 176.3402 | 179.5 | 164.5508 | 165.3084 | 0 | 0 | 0 | 0 | 0 | 0 | 1006.9796
| iii)Pong | Hydro | 7.4289 | 22.3684 | 24.2777 | 24.9099 | 26.7641 | 36.5722 | 0 | 0 | 0 | 0 | 0 | 0 | 142.3213
2.1 | Total (Gross) |  | 312.2191 | 455.2305 | 550.4939 | 498.6022 | 585.3321 | 554.5682 | 0 | 0 | 0 | 0 | 0 | 0 | 2956.446
2.2 | BBMB Inter State Transmission Losses |  | 8.2819 | 12.9896 | 11.9431 | 10.5196 | 13.5302 | 13.2659 | 0 | 0 | 0 | 0 | 0 | 0 | 70.5303
2.3 | PSPCL share from BBMB (Net) (2.1 - 2.2) |  | 303.9372 | 442.2409 | 538.5508 | 488.0826 | 571.8019 | 541.3022 | 0 | 0 | 0 | 0 | 0 | 0 | 2885.9157
3 | Total Net Generation (1.7+2.3) |  | 668.9513 | 1023.5036 | 1617.3311 | 1556.3131 | 1437.3583 | 1364.1586 | 0 | 0 | 0 | 0 | 0 | 0 | 7667.6161
4 | CENTRAL SECTOR POWER PURCHASE
4.1 | NHPC
| Bairasiul | Hydro | 0 | 0 | 0 | 26.2392 | 20.2761 | 14.4348 | 0 | 0 | 0 | 0 | 0 | 0 | 60.9501
| Salal | Hydro | 113.0515 | 120.8219 | 132.9594 | 129.4196 | 134.997 | 123.834 | 0 | 0 | 0 | 0 | 0 | 0 | 755.0834
| Tanakpur | Hydro | 6.8492 | 7.8039 | 9.6253 | 9.9518 | 10.2521 | 10.2259 | 0 | 0 | 0 | 0 | 0 | 0 | 54.7083
| Chamera-I | Hydro | 33.9422 | 30.6145 | 34.4029 | 40.9091 | 40.0515 | 24.8598 | 0 | 0 | 0 | 0 | 0 | 0 | 204.78
| Chamera-II | Hydro | 18.0777 | 19.9126 | 20.7575 | 21.5985 | 9.7756 | 1.7341 | 0 | 0 | 0 | 0 | 0 | 0 | 91.856
| Chamera-III | Hydro | 10.0635 | 10.1111 | 12.5772 | 12.898 | 12.0838 | 8.72 | 0 | 0 | 0 | 0 | 0 | 0 | 66.4536
| Uri | Hydro | 47.2146 | 48.9958 | 47.2258 | 41.6569 | 33.8697 | 27.8204 | 0 | 0 | 0 | 0 | 0 | 0 | 246.783
| Uri-II | Hydro | 13.2186 | 13.8168 | 13.0094 | 13.8327 | 12.5791 | 9.2808 | 0 | 0 | 0 | 0 | 0 | 0 | 75.7374
| Dhauliganga | Hydro | 9.7333 | 13.4019 | 18.4564 | 19.8838 | 20.0632 | 18.5366 | 0 | 0 | 0 | 0 | 0 | 0 | 100.0751
| Dulhasti | Hydro | 17.5317 | 16.2183 | 16.8798 | 19.224 | 17.9031 | 18.2247 | 0 | 0 | 0 | 0 | 0 | 0 | 105.9816
| Parbati-III | Hydro | 3.0782 | 3.849 | 6.4596 | 11.8059 | 13.2201 | 6.4966 | 0 | 0 | 0 | 0 | 0 | 0 | 44.9094
| Rampur | Hydro | 8.4033 | 11.9522 | 17.6184 | 18.2148 | 17.1584 | 15.7663 | 0 | 0 | 0 | 0 | 0 | 0 | 89.1133
| SEWA-II | Hydro | 7.5209 | 7.2843 | 4.4027 | 4.5256 | 5.6114 | 1.8068 | 0 | 0 | 0 | 0 | 0 | 0 | 31.1518
| Parbati-II | Hydro | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Kishanganga | Hydro | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Tapovan Vishnugad | Hydro | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total |  | 288.6846 | 304.7825 | 334.3745 | 370.1598 | 347.841 | 281.7407 | 0 | 0 | 0 | 0 | 0 | 0 | 1927.5831
4.2 | Nathpa Jhakri(SJVNL) | Hydro | 54.4862 | 77.5766 | 115.4589 | 119.4579 | 112.3837 | 102.8232 | 0 | 0 | 0 | 0 | 0 | 0 | 582.1866
4.3 | Tehri(THDC) | Hydro | 18.066 | 18.1802 | 15.4551 | 14.0363 | 24.5599 | 29.8814 | 0 | 0 | 0 | 0 | 0 | 0 | 120.179
4.4 | Koteshwar(THDC) | Hydro | 6.584 | 7.4786 | 6.8943 | 5.626 | 7.2511 | 8.0299 | 0 | 0 | 0 | 0 | 0 | 0 | 41.8639
4.4.1 | Vishnugad Pipalkoti HEP (THDC) | Hydro | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4.5.1 | DVC RTPS 1&2 | Thermal | 123.3063 | 76.5389 | 125.9678 | 138.5023 | 141.1974 | 101.1765 | 0 | 0 | 0 | 0 | 0 | 0 | 706.6892
4.5.2 | DVC -Durgapur | Thermal | 109.8134 | 111.5442 | 114.2192 | 112.0722 | 106.9669 | 52.8752 | 0 | 0 | 0 | 0 | 0 | 0 | 607.491
4.5.3 | DVC -BTPS | Thermal | 111.4811 | 107.6066 | 119.1543 | 132.6527 | 123.3792 | 48.9701 | 0 | 0 | 0 | 0 | 0 | 0 | 643.244
4.6 | NTPC
| Singrauli | Thermal | 115.6646 | 115.268 | 112.4339 | 112.97 | 111.5429 | 100.1671 | 0 | 0 | 0 | 0 | 0 | 0 | 668.0465
| Rihand-I | Thermal | 70.0773 | 71.9619 | 57.9447 | 47.0115 | 72.2378 | 69.4079 | 0 | 0 | 0 | 0 | 0 | 0 | 388.6412
| Rihand-II | Thermal | 62.39 | 66.2086 | 49.2637 | 34.6818 | 39.9984 | 42.9719 | 0 | 0 | 0 | 0 | 0 | 0 | 295.5143
| Rihand - III | Thermal | 54.6806 | 48.9556 | 52.8544 | 54.2736 | 52.8898 | 53.3778 | 0 | 0 | 0 | 0 | 0 | 0 | 317.0318
| Anta G | Gas | 0.9991 | 6.3125 | 0.38838 | 0.010172 | 0.02338 | 1.9616 | 0 | 0 | 0 | 0 | 0 | 0 | 9.6951
| Anta R | Gas | 0 | 0 | 0 | 0.026822 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.026822
| Anta L | Gas | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Auriya G | Gas | 0 | 0.68509 | 1.3686 | 1.9579 | 8.238 | 5.5518 | 0 | 0 | 0 | 0 | 0 | 0 | 17.8015
| Auriya R | Gas | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Auriya L | Gas | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Dadri G | Gas | 22.3746 | 16.3013 | 10.7369 | 4.0505 | 13.3801 | 18.0371 | 0 | 0 | 0 | 0 | 0 | 0 | 84.8806
| Dadri R | Gas | 0 | 0 | 0 | 0 | 0.011446 | 0.007933 | 0 | 0 | 0 | 0 | 0 | 0 | 0.019379
| Dadri L | Gas | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Unchahar-I | Thermal | 3.7502 | 12.5377 | 17.6922 | 15.3829 | 17.7941 | 11.6212 | 0 | 0 | 0 | 0 | 0 | 0 | 78.7784
| Unchahar-II | Thermal | 32.2772 | 22.8384 | 17.5319 | 21.8113 | 30.9443 | 20.9084 | 0 | 0 | 0 | 0 | 0 | 0 | 146.3116
| Unchahar-III | Thermal | 9.6713 | 6.8831 | 7.2161 | 8.2275 | 8.7987 | 5.9141 | 0 | 0 | 0 | 0 | 0 | 0 | 46.7108
| Unchahar-IV | Thermal | 3.7407 | 0.28706 | 2.1891 | 1.167 | 3.5784 | 0.33395 | 0 | 0 | 0 | 0 | 0 | 0 | 11.2962
| Jhajjar (JV) | Thermal | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Dadri (Th.)-II | Thermal | 0.042872 | 0.2557 | 0.17121 | 0.10468 | 0.062732 | 0.0026594 | 0 | 0 | 0 | 0 | 0 | 0 | 0.63984
| Koldam HEP | Hydro | 16.2048 | 21.3115 | 36.6287 | 50.1405 | 49.9694 | 35.3714 | 0 | 0 | 0 | 0 | 0 | 0 | 209.6263
| Singrauli SHEP | Small Hydro | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| North Karanpura | Thermal | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Singrauli-III | Thermal | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Tanda Stage-II | Thermal | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Meja | Thermal | 0.34944 | 5.6871 | 9.2937 | 3.2045 | 9.2898 | 3.8894 | 0 | 0 | 0 | 0 | 0 | 0 | 31.714
| Total |  | 392.2229 | 395.4935 | 375.7135 | 355.0208 | 418.7591 | 369.5245 | 0 | 0 | 0 | 0 | 0 | 0 | 2306.7343
4.7 | NTPC(ER)
| Farakha (ER) | Thermal | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Kahal gaon (ER) | Thermal | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Kahal gaon-II (ER) | Thermal | 55.2542 | 45.0029 | 63.3363 | 66.5755 | 70.6869 | 69.9366 | 0 | 0 | 0 | 0 | 0 | 0 | 370.7924
| Total |  | 55.2542 | 45.0029 | 63.3363 | 66.5755 | 70.6869 | 69.9366 | 0 | 0 | 0 | 0 | 0 | 0 | 370.7924
4.8 | NPC
| NAPP | Nuclear | 31.8227 | 33.1521 | 31.4438 | 32.6314 | 32.383 | 31.561 | 0 | 0 | 0 | 0 | 0 | 0 | 192.9939
| RAPP-B | Nuclear | 61.7584 | 63.9206 | 60.5056 | 62.6808 | 63.3869 | 61.2675 | 0 | 0 | 0 | 0 | 0 | 0 | 373.5199
| RAPP-C | Nuclear | 22.8267 | 32.2671 | 30.7678 | 31.8737 | 31.8037 | 29.3333 | 0 | 0 | 0 | 0 | 0 | 0 | 178.8723
| Total |  | 116.4078 | 129.3399 | 122.7172 | 127.1859 | 127.5736 | 122.1618 | 0 | 0 | 0 | 0 | 0 | 0 | 745.3861
4.9 | Central Sector Purchase (4.1+4.2+4.3+4.4+4.4.1+4.5+4.6+4.7+4.8) |  | 1276.3065 | 1273.5439 | 1393.2911 | 1441.2894 | 1480.5988 | 1187.12 | 0 | 0 | 0 | 0 | 0 | 0 | 8052.1495
`
5 | PURCHASE THROUGH TRADERS
5.1 | Purchase through Traders / IPPs (LONG TERM)
NVVN( Bundled Power)
| NVVN Bundled Coal power |  | 19.6638 | 21.1918 | 19.3221 | 17.6166 | 17.7971 | 17.5158 | 0 | 0 | 0 | 0 | 0 | 0 | 113.1071
| NVVN Bundled Solar Power |  | 6.4701 | 6.6369 | 6.032 | 5.3716 | 4.7566 | 4.6344 | 0 | 0 | 0 | 0 | 0 | 0 | 33.9016
| NVVN Bundled power |  | 26.134 | 27.8287 | 25.3541 | 22.9881 | 22.5536 | 22.1502 | 0 | 0 | 0 | 0 | 0 | 0 | 147.0087
| NTPC Solar Power | Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| SECI Solar Power | Solar | 5.7068 | 5.8301 | 5.2596 | 4.9213 | 4.0245 | 4.0081 | 0 | 0 | 0 | 0 | 0 | 0 | 29.7504
| Total Solar Power |  | 5.7068 | 5.8301 | 5.2596 | 4.9213 | 4.0245 | 4.0081 | 0 | 0 | 0 | 0 | 0 | 0 | 29.7504
Wind Power
| SECI Wind Power | Wind | 0 | 2.5411 | 14.3582 | 38.9463 | 33.302 | 16.519 | 0 | 0 | 0 | 0 | 0 | 0 | 105.6667
| Total Wind Power |  | 0 | 2.5411 | 14.3582 | 38.9463 | 33.302 | 16.519 | 0 | 0 | 0 | 0 | 0 | 0 | 105.6667
| PTC Tala(Hydro) | Hydro | 2.0182 | 5.7731 | 5.8365 | 17.3758 | 17.9264 | 17.0162 | 0 | 0 | 0 | 0 | 0 | 0 | 65.9463
| Pragati-III(Bawana)CCGT | Gas | 25.2684 | 27.1145 | 30.9841 | 31.1803 | 29.5975 | 29.696 | 0 | 0 | 0 | 0 | 0 | 0 | 173.8409
| MALANA-2 (PTC) | Hydro | 22.53 | 28.8685 | 42.0016 | 68.5574 | 69.6238 | 50.3269 | 0 | 0 | 0 | 0 | 0 | 0 | 281.9083
| KARCHAM (PTC) | Hydro | 58.2838 | 84.6962 | 147.9507 | 161.7158 | 154.1782 | 129.9191 | 0 | 0 | 0 | 0 | 0 | 0 | 736.7438
| SASAN Ultra Mega Project | Thermal | 378.9063 | 398.9764 | 354.3117 | 336.2408 | 324.9174 | 368.2793 | 0 | 0 | 0 | 0 | 0 | 0 | 2161.6319
| MUNDRA_UMPP | Thermal | 258.4927 | 287.9612 | 203.7519 | 174.6414 | 227.8315 | 279.8161 | 0 | 0 | 0 | 0 | 0 | 0 | 1432.4947
| Udupi (UPCL) | Thermal | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Goindwal Sahib TPP (GVK)
| GVK_Infirm |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| GVK_Sch | Thermal | 183.5689 | 27.8381 | 201.1253 | 217.4567 | 182.8088 | 197.4262 | 0 | 0 | 0 | 0 | 0 | 0 | 1010.224
| GVK_UI |  | -1.1378 | -0.21117 | -0.61975 | -0.18849 | 0.14737 | 0.7644 | 0 | 0 | 0 | 0 | 0 | 0 | -1.2455
| Total GVK (Infirm + Sch - UI) |  | 184.7067 | 28.0492 | 201.7451 | 217.6452 | 182.6614 | 196.6618 | 0 | 0 | 0 | 0 | 0 | 0 | 1011.4695
Talwandi Sabo TPP (TSPL)
| TSPL_Infirm |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| TSPL_Sch | Thermal | 989.0102 | 800.8556 | 912.8392 | 884.7034 | 897.016 | 842.5754 | 0 | 0 | 0 | 0 | 0 | 0 | 5326.9997
| TSPL_UI |  | 2.7301 | 2.0512 | 3.7364 | 3.2697 | 1.5259 | 4.2237 | 0 | 0 | 0 | 0 | 0 | 0 | 17.5369
| Total TSPL (Infirm + Sch - UI) |  | 986.2801 | 798.8045 | 909.1028 | 881.4337 | 895.4901 | 838.3516 | 0 | 0 | 0 | 0 | 0 | 0 | 5309.4628
RAJPURA TPP (NPL)
| NPL_Sch | Thermal | 571.4795 | 798.2285 | 825.4325 | 832.3618 | 842.675 | 850.7563 | 0 | 0 | 0 | 0 | 0 | 0 | 4720.9335
| NPL_UI |  | 0.23208 | 0.89373 | 1.5979 | 2.5657 | 3.9579 | 3.1689 | 0 | 0 | 0 | 0 | 0 | 0 | 12.4162
| Total NPL (Sch - UI) |  | 571.2474 | 797.3348 | 823.8346 | 829.7961 | 838.7171 | 847.5873 | 0 | 0 | 0 | 0 | 0 | 0 | 4708.5173
| Total Long Term |  | 2519.5744 | 2493.7784 | 2764.491 | 2785.4423 | 2800.8236 | 2800.3316 | 0 | 0 | 0 | 0 | 0 | 0 | 16164.4413
5.2 | Purchase through Traders / IPPs (SHORT TERM)
| NVVN |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| MITTAL/MPPL/KEIPL |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Manikaran |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| DBPL |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| JSW/JSWPTCL |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| LEUL |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| PTC |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| AEL |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| APL |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Sterlite |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| JPL |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| TATA/TPTCL |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| SCL |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| NETS |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| GMRETL/GMR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| INSTINCT |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| APPCPL |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Power Purchased by PSPCL through Exchange
| PTC |  | 24.3 | 28.55 | 87.2702 | 9.15 | 0.080088 | 11.8806 | 0 | 0 | 0 | 0 | 0 | 0 | 161.2309
| MITTAL/MPPL/KEIPL |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| NVVN |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| SCL |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total |  | 24.3 | 28.55 | 87.2702 | 9.15 | 0.080088 | 11.8806 | 0 | 0 | 0 | 0 | 0 | 0 | 161.2309
NRSE Power
| PTC |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| MITTAL/MPPL/KEIPL |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| NVVN |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| APPCPL |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| HPSEB |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total Short Term |  | 24.3 | 28.55 | 87.2702 | 9.15 | 0.080088 | 11.8806 | 0 | 0 | 0 | 0 | 0 | 0 | 161.2309
5.3 | Total Trading (5.1+5.2) |  | 2543.8744 | 2522.3284 | 2851.7612 | 2794.5923 | 2800.9037 | 2812.2122 | 0 | 0 | 0 | 0 | 0 | 0 | 16325.6722
6 | BANKING
6.1 | Banking Direct from Utilities (From +ve)
| HPSEB |  | 0 | 0 | 2.1162 | 1.308 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.4242
| Rajasthan |  | 0 | 0 | 209.096 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 209.096
| UPCL |  | 0 | 0 | 0 | 22.32 | 22.1822 | 21.6478 | 0 | 0 | 0 | 0 | 0 | 0 | 66.15
| J&K |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| TELANGANA |  | 0 | 0 | 15.7848 | 0.54792 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16.3327
| MPPTCL/MPSEB/MP/MPPMCL |  | 0 | 0 | 65.5255 | 334.7143 | 337.9623 | 332.8828 | 0 | 0 | 0 | 0 | 0 | 0 | 1071.0849
| Total |  | 0 | 0 | 292.5225 | 358.8902 | 360.1445 | 354.5306 | 0 | 0 | 0 | 0 | 0 | 0 | 1366.0878
6.2 | Banking through Traders (From +ve)
| NVVNL |  | 0 | 0 | 96.571 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 96.571
| JSW/JSWPTCL |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| LANCO |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| MITTAL/MPPL/KEIPL |  | 0 | 0 | 54.2 | 132.9265 | 147.7181 | 130.7174 | 0 | 0 | 0 | 0 | 0 | 0 | 465.562
| DBPL |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| SCL |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| TATA/TPTCL |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| GMR/GMRETL |  | 0 | 0 | 39.3907 | 36.7294 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 76.1201
| PROVEST |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| MANIKARN |  | 0 | 0 | 243.0492 | 603.5102 | 516.4421 | 403.6845 | 0 | 0 | 0 | 0 | 0 | 0 | 1766.6861
| INSTICT |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| APPCPL |  | 0 | 0 | 150.0382 | 425.137 | 428.345 | 409.9521 | 0 | 0 | 0 | 0 | 0 | 0 | 1413.4723
| PTC |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total |  | 0 | 0 | 583.2491 | 1198.3032 | 1092.5052 | 944.3539 | 0 | 0 | 0 | 0 | 0 | 0 | 3818.4115
| Total Banking From (+ve) (6.1+6.2)) |  | 0 | 0 | 875.7716 | 1557.1935 | 1452.6497 | 1298.8845 | 0 | 0 | 0 | 0 | 0 | 0 | 5184.4993
6.3 | Banking Direct to Utilities (To -ve)
| HPSEB |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Rajasthan |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| UPCL |  | -42 | -21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -63
| J&K |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| TELANGANA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| MPPTCL/MPSEB/MP/MPPMCL |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total |  | -42 | -21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -63
6.4 | Banking through Traders (To -ve)
| PTC |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| NVVNL |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| SCL |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Tata |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| MITTAL/MPPL/KEIPL |  | -108 | -12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -120
| JSW (JSWPTCL) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| GMR |  | -71.8115 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -71.8115
| APPCPL |  | -140.1172 | -19.368 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -159.4852
| Provestment |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Manikarn(MPL) |  | -467.5125 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -467.5125
| DBPL |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total |  | -787.4411 | -31.368 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -818.8092
| Total Banking To (-ve) (6.3+6.4) |  | -829.4411 | -52.368 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -881.8092
6.5 | Total Net Banking (6.1+6.2+6.3+6.4) |  | -829.4411 | -52.368 | 875.7716 | 1557.1935 | 1452.6497 | 1298.8845 | 0 | 0 | 0 | 0 | 0 | 0 | 4302.6902
7 | PURCHASE WITHIN PUNJAB (NRSE & PEDA)
| Short Term Purchase within Punjab |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Long Term Purchase within Punjab |  | 193.626 | 216.7605 | 201.0276 | 154.615 | 170.1116 | 159.3759 | 0 | 0 | 0 | 0 | 0 | 0 | 1095.5165
| Total Purchase within Punjab (Long & Short) |  | 193.626 | 216.7605 | 201.0276 | 154.615 | 170.1116 | 159.3759 | 0 | 0 | 0 | 0 | 0 | 0 | 1095.5165
8 | Unscheduled Interchange |  | 11.7459 | -26.4526 | -23.0883 | -22.864 | -33.4268 | -12.6126 | 0 | 0 | 0 | 0 | 0 | 0 | -106.6983
9 | GROSS POWER PURCHASE (4.9+5.3+6.5+7+8) |  | 3196.1115 | 3933.8122 | 5298.7632 | 5924.8261 | 5870.8371 | 5444.98 | 0 | 0 | 0 | 0 | 0 | 0 | 29669.3301
10-A | Inter state Transmission Losses on Short Term Purchase Outside State (5.2) |  | 0.17671 | 0.3344 | 0.87838 | 0.0984 | 0.0011775 | 0.15751 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6466
10-B | Inter state Transmission Losses on Rest of Power Purchase Outside State |  | 54.4747 | 61.1523 | 67.2306 | 81.3347 | 88.2364 | 81.4215 | 0 | 0 | 0 | 0 | 0 | 0 | 433.8502
10 | Interstate Transmission Losses on Purchase |  | 54.6515 | 61.4867 | 68.109 | 81.4331 | 88.2376 | 81.579 | 0 | 0 | 0 | 0 | 0 | 0 | 435.4968
| % Inter state Transmission Losses |  | 2.653% | 2.853% | 2.17% | 2.11% | 2.312% | 2.392% | 0% | 0% | 0% | 0% | 0% | 0% | 2.365%
11 | NET POWER PURCHASE (9-10) |  | 3141.4601 | 3872.3255 | 5230.6542 | 5843.3931 | 5782.5995 | 5363.401 | 0 | 0 | 0 | 0 | 0 | 0 | 29233.8333
12 | Sale by PSPCL
12.1 | Sale by PSPCL Thru Exchange
| PTC |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| TATA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| MITTAL/MPPL/KEIPL |  | -5.4978 | -80.0881 | -20.0624 | -64.4681 | -81.6104 | -11.4874 | 0 | 0 | 0 | 0 | 0 | 0 | -263.2143
| NVVN |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total |  | -5.4978 | -80.0881 | -20.0624 | -64.4681 | -81.6104 | -11.4874 | 0 | 0 | 0 | 0 | 0 | 0 | -263.2143
12.2 | Sale by PSPCL Thru Traders/Short Term
| PTC |  | -94.0414 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -94.0414
| TATA |  | -21.1542 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -21.1542
| MANIKARAN (MPL) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| INSTINCT |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total |  | -115.1956 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -115.1956
| Total Sale by PSPCL (12.1+12.2) |  | -120.6934 | -80.0881 | -20.0624 | -64.4681 | -81.6104 | -11.4874 | 0 | 0 | 0 | 0 | 0 | 0 | -378.4098
13 | Royality/Free Share to HP/RSD share
| Shanan Royalty |  | -6.66 | -6.169 | -5.64 | -5.673 | -6.665 | -5.64 | 0 | 0 | 0 | 0 | 0 | 0 | -36.447
| RSD Share to HP |  | -5.8844 | -7.5958 | -10.1975 | -8.0587 | -10.6982 | -6.3746 | 0 | 0 | 0 | 0 | 0 | 0 | -48.8092
| RSD Share to J&K |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total |  | -12.5444 | -13.7648 | -15.8375 | -13.7317 | -17.3632 | -12.0146 | 0 | 0 | 0 | 0 | 0 | 0 | -85.2562
14 | Open Access Intra State UI (Sale) |  | 0.1237 | 0.022492 | -0.0408 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.10539
15 | Open Access Intra State UI (Import) |  | 0.19142 | 0.74394 | 0.018565 | 0.025848 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.97977
16 | NET AVAILABILITY for PSPCL (3+11+12+13+14+15) |  | 3677.4888 | 4802.7426 | 6812.0631 | 7321.5322 | 7120.9842 | 6704.0577 | 0 | 0 | 0 | 0 | 0 | 0 | 36438.8685
17 | Open Access (PURCHASE) Gross |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Open Access Inter State Transmission Losses |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Open Access (PURCHASE) Net |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | Open Access (SALE) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | Open Access Transactions within State (Wheeling) Open Access Injection |  | 1.0893 | 0.60715 | 1.3225 | 1.4771 | 1.2243 | 1.5319 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2523
20 | NET AVAILABILITY FOR PUNJAB STATE (16+17+18+19) |  | 3678.5781 | 4803.3498 | 6813.3856 | 7323.0093 | 7122.2084 | 6705.5896 | 0 | 0 | 0 | 0 | 0 | 0 | 36446.1208
21 | POWER CUT IMPOSED |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | UNRESTRICTED REQUIREMENT of PSPCL (16+21) |  | 3677.4888 | 4802.7426 | 6812.0631 | 7321.5322 | 7120.9842 | 6704.0577 | 0 | 0 | 0 | 0 | 0 | 0 | 36438.8685
23 | UNRESTRICTED REQUIREMENT of PUNJAB STATE (20+21) |  | 3678.5781 | 4803.3498 | 6813.3856 | 7323.0093 | 7122.2084 | 6705.5896 | 0 | 0 | 0 | 0 | 0 | 0 | 36446.1208
| check |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| SCHEDULED ENERGY OWN THERMALS |  | 2019-04-01 | 2019-05-01 | 2019-06-01 | 2019-07-01 | 2019-08-01 | 2019-09-01 | 2019-10-01 | 2019-11-01 | 2019-12-01 | 2020-01-01 | 2020-02-01 | 2020-03-01 | Total
| GNDTP BTI | Thermal | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| GGSSTP RPR | Thermal | 6.796 | 5.9242 | 249.36 | 316.0097 | 147.061 | 182.9595 | 0 | 0 | 0 | 0 | 0 | 0 | 908.1105
| GHTP L.M | Thermal | 79.0793 | 0 | 242.9238 | 221.7505 | 131.543 | 116.9075 | 0 | 0 | 0 | 0 | 0 | 0 | 792.204

## Annex-4
Annexure-C4
PSTCL Energy Exchanged status for FY 2019-20 (H1)
Month | Energy injected in PSTCL Substations (in MWh) (A) | Energy exported from PSTCL Substations (in MWh) (B) | PSTCL Transmission Losses=A-B | PSTCL Transmission Losses (%age)
FY 2019-2020
April,2019 | 4427377.144 | 4314129.186 | 113247.958 | 2.56
May,2019 | 5408503.442 | 5318118.601 | 90384.841 | 1.67
June,2019 | 7198677.899 | 6991035.128 | 207642.771 | 2.88
July,2019 | 7697685.644 | 7519637.424 | 178048.22 | 2.31
August,2019 | 7547102.722 | 7388645.513 | 158457.209 | 2.1
September,2019 | 7019656.145 | 6900547.979 | 119108.166 | 1.7
Total Losses for FY 2019-20 H1 (April,19-Sep,19) |  |  | 866889.165
|  | In MU | 866.8892