IN THE COURT OF OMBUDSMAN, ELECTRICITY PUNJAB,

66 KV GRID SUBSTATION, PLOT NO. A-2, INDL. AREA,

PHASE-I, S.A.S. NAGAR, MOHALI.

APPEAL No.25/2012            	              Date of Order. 21.06.2012

M/S SEWAKUNJ ALLOYS PRIVATE LIMITED,

VILLAGE MANGARH,

CHANDIGARH ROAD,

LUDHIANA-141 112.			  ………………..PETITIONER

Account No. LS-79

Through:

Sh.  Jaswant Singh, Authorised Representative

Sh. C.L. Bhatia, Manager

VERSUS

PUNJAB STATE POWER CORPORATION LIMITED.

…….….RESPONDENTS.

Through

Er. Gurtej .Singh  Chahal,

Addl.Superintending Engineer

Operation Division ,

P.S.P.C.L. SAMRALA.

Sh. Surjit Singh, R.A.,Kohara S/Divn.

Petition No. 25/2012  dated 18.04.2012 was filed against order dated 14.03.2012  of the Grievances Redressal Forum (Forum) in case No.CG-13 of 2012  upholding decision  dated 09.12.2011 of the Zonal Dispute Settlement Committee (ZDSC) on account of charging of Service Connection Charges (SCC) amounting to Rs. 8,62,720/- (variable) .

2.		 Arguments, discussions and evidences on record were held on 21.06.2012.

3.		Sh. C.L. Bhatia, alongwith Sh.  Jaswant Singh, authorised representative attended the court proceedings on behalf of the petitioner. Er. Gurtej Singh Chahal, Addl. Superintending Engineer/Operation, Division, PSPCL, Samrala alongwith Sh. Surjit Singh, Revenue Accountant, Kohara  appeared on behalf of the respondent, Punjab State Power Corporation Limited (PSPCL).

4.		Sh. Jaswant Singh, the petitioner’s counsel (counsel),   stated that the petitioner is having a Large Supply  category connection bearing  Account No. LS-79  with sanctioned load of 1499.615 KW with  Contract Demand (CD) of  1490  KVA in the name of M/S Sewa Kunj Alloys Pvt. Ltd under Kohara Sub-Division.   The said connection was applied by the petitioner on 17.11.2008 in the name of M/S Sewa Kunj Alloys (P) Ltd;.  The   AEE, Kohara Sub-Division, issued the Demand Notice (DN) dated 08.01.2009 to the petitioner asking to deposit Rs. 13,41,000/- as Service Connection Charges (SCC)  @ Rs. 900/ per KVA for the applied load. The petitioner deposited the said amount on 08.01.2009.  The estimate was sanctioned for Rs. 12,68,561/- which was less than the SCC.  The connection was released on 21.05.2009.  Thereafter, the petitioner’s account was checked by the Audit Party.  The Accounts Officer / Field, Ropar ( Audit Party)    in its Memo No. 60 dated 08.01.2011 asked the  SDO, Kohara Sub-Division to charge the petitioner an additional  amount of Rs. 8,62,720/-  for cost of line ( variable charges)  according to Commercial Circular ( CC)  No. 68/2008.  It was calculated  taking length of the  line at  2946 meters @ Rs. 320/- per meter  exempting permissible limit of 250 meters in addition to fixed service connection charges already deposited. The case against  charging of additional amount was represented before the ZDSC which decided that the amount is recoverable.  Aggrieved with this decision, the petitioner filed an appeal before the Forum but could not get any relief.

He argued that the variable charges of Rs. 8,62,720/- (@ Rs. 320/- per metre as pointed out by Audit party  are not recoverable.   The charges were levied in view of CC No. 68/2008.  Before the issue of CC No. 68/2008 these charges were being levied in accordance with the Electricity Supply Regulation (ESR) 51.2.1 (for new connections).  ESR 51.2.1.2  provides that for Load above 1000 KW , SCC @    Rs. 750/- per KW or the actual cost whichever is higher is applicable. He  further submitted that SCC under para 51.2.1.1 (for connections with load up to  1000 KW) is applicable  for loads upto 1 MW where the length of new or augmented or both lines to be provided is upto 300 meters which also include 11 KV Line ( whether overhead or cable).   In such cases, where the limit of 300 meters is exceeded, the applicant is required to pay actual cost of Rs. 125/- per metre as additional SCC. Thus, it is very clear that there was no provision to charge variable charges for new connections above 1000 KW. The Punjab State Electricity Regulatory Commission (PSERC) made The Electricity Supply Code (Supply Code) and Related Matters Regulations, 2007.   PSPCL adopted the Supply Code with effect from 01.01.2008 as per CC No. 58/2007 dated 15.10.2007.  In the Supply Code new connections are dealt under Regulation 9.1.1. Under sub clause (b)  of the said Regulation, it is  provided  that “ where required load / contract demand  exceeds 500 KW / KVA, the applicant will be required to pay per KW / KVA charges as approved by the Commission or the actual expenditure for release of connection, whichever is higher”.  There is no provision in this Regulation to charge any per metre variable charges in addition to per KW/KVA charges.  In the case of the petitioner, the connection was released on 21.05.2009.  Therefore, as per Regulation 9.1.1 of the Supply Code, per metre variable charges are not applicable.  He next argued that the variable charges are applicable on the service line only, if it is more than 250 metres.   He contended that as per definition of service line, it is a line erected for providing power to single consumer.  In the case of the petitioner, the length of the service line is only 30 metres as is apparent from the letter written by the respondents to the Chief Electrical Inspector (CEI), thus no variable charges are recoverable.  The rest of the 1950 metre line is sub main on which many other consumers are also being fed.   He further referred to the Supply Code Regulation 4.5 and stated that any amendment to these rules can be made through Gazette Notification and no such amendment / notification has been made by the PSERC to levy these charges.  Another submission made was that interest has been charged from the date, the connection was released.  He argued that even, if it is assumed that these charges are applicable, interest charged from the date of connection is wrong.  Interest can be charged only from the date of issue of notice in case variable charges are found recoverable.   In the end, he requested to set aside the decision of the Forum and allow the petition.

5.		Er. G.S. Chahal, Addl. Superintending Engineer, representing the respondents submitted that the petitioner applied for a  new connection on 17.11.2008. The DN dated 08.01.2009 was issued to the petitioner   for the release of Large Supply connection with sanctioned load of 1499.615 KW / CD 1490 KVA. Based on CD of 1490 KVA, the petitioner was asked to deposit Rs. 13,41,000/-  as  Service Connection Charges= ( 1490 KVA X Rs. 900/- per KVA). Thereafter an estimate No. 83472 / 2008-09 for Rs. 12,68,561/- was sanctioned for the release of connection which was less than the amount already deposited.  During this period, the respondents issued CC No. 68/2008 dated 17.12.2008 which was applicable to the Demand Notices issued after 22.12.2008.  According to CC No. 68/2008 dated 17.12.2008, variable charges were recoverable from the petitioner which were not demanded in the DN.  The Audit Party  during its audit  of the Sub-Division, intimated to  the  SDO, Kohara vide Audit Note No. 60 dated 08.01.201, to recover  variable charges as per length of service line mentioned in the estimate as ( 2946-250 = 2696x320), Rs. 8,62,720/- which could not be intimated to the petitioner  in the first instance.  In the case of the petitioner, 956 meter old line was augmented by change of higher capacity conductor due to the petitioner’s connection; 1950 metre new line was erected at that time exclusively to release connection to the petitioner and the rest of the 40 metre line was service cable.  Therefore, a total of 2946 metre line was for the petitioner’s connection. Responding to the contention of the petitioner that other connections have been released from the same line, he submitted  that after release of connection  to the petitioner, only two SP category connections less than 20 KW have been released on this line.  Explaining the issue of CC 68/2008, he submitted that in compliance with Regulation-10 of the Supply Code, PSPCL submitted the Standard Cost Data to PSERC on 15.05.2008 for approval.  The approval was intimated by the PSERC in Memo No. 3981 dated 05.12.2008.  PSPCL issued CC No. 68/2008 on 17.12.2008 on the basis of this approval.  This circular was applicable to the Demand Notices issued after 22.12.2008.   He argued that when charges have been approved by the PSERC, therefore, these can not be held inconsistent with the existing Regulations. Therefore, the variable charges have been correctly charged from the petitioner as per CC 68/2008 dated 17.12.2008 and are recoverable.  He requested that the appeal of the petitioner may be dismissed.

6.		Written submissions made in the petition by both the parties and other material brought on record have been perused and carefully considered.    The Sr. Xen submitted that demand for additional SCC was raised in case of the petitioner in view of CC. 68/2008 made effective from 22.12.2008.  This circular was issued after the approval of Standard Cost Data by the PSERC and intimated in letter dated 05.12.2008.  The Standard Cost Data was approved by the PSERC in compliance of Regulation-10 and 9 of the  Supply Code.  On behalf of the petitioner, it was argued that before the issuance of CC. 68/2008, the SCC for new connections were being levied in accordance with ESR 51.2.1 and in accordance with Regulation-9 of the Supply Code, with effect from 01.01.2008.  The Standard Cost Data approved by the Commission was under Regulations-9 and 10 of the Supply Code.  Since, there was no provision of levy of variable  charges either in ESR 51.2.1 or under Regulation 9.1.1.(i) (b) of the Supply Code for  the connections exceeding 1000 KW and 500 KW respectively, charging of SCC (variable) after about two years of release of connection was highly unjustified.

The relevant provisions relied upon by the parties are re-produced below for ready reference;

ESR 51.2.1.

“ESR 51.2.1.1 --------Load upto 1000 KW      Rs. 750/- per KW.

ESR 51.2.1.2--------Load above 1000 KW    Rs. 750/- per KW

Or the actual cost whichever is higher.

Service connection charges under para 51.2.1.1 (for connections with load upto 1000 KW) shall be applicable for loads upto 1 MW where the length of new or augmented or both lines to be provided is upto 300 metre which will include 11 KV line ( whether overhead or cable), LT line  and service cable where this limit exceeds 300 metre, the applicant will be required to pay actual cost of Rs. 125/- per metre for 11 KV line, LT line and service cable in excess of 300 metre as additional SCC (non-refundable)”.

Regulation 9.1.1 of Supply Code (For new connections).

(i)    Domestic, Non-Residential, Industrial and Bulk Supply categories:

(a)   	The applicant requesting the Licensee for a new connection under Domestic, Non-Residential, Industrial and Bulk Supply categories will be required to pay per KW / KVA charges as approved by the Commission.  Such charges will be payable by an applicant where the load / demand required is upto and including 500 KW / 500 KVA and the length of the service line is upto one hundred metre for Domestic & Non-Residential Supply category and two hundred fifty metre for Industrial and Bulk Supply categories.

Where the length of the service line exceeds the above prescription of the applied category, the applicant will also pay for the additional expenditure for the extra length on actual basis at the rates approved by the Commission.

(b)     Where load / demand required exceeds 500 KW / 500 KVA, the applicant will be required to pay per KW / KVA charges as approved by the Commission or the actual expenditure for release of connection, whichever is higher.

CC 68/2008 dated 17.12.2008;

“PSERC vide its letter No. 3981 / PSERC / DTJ-50 dated 05.12.2008 has intimated revised Service Connection Charges for various types of consumers.  As per this letter, Service Connection charges as approved by the Commission are applicable to the demand notices to be issued with effect from 22nd December, 2008.  A copy of the PSERC Memo No.3981 / PSERC / DTJ-50 dated 05.12.2008 is enclosed for compliance in toto.

Copy of letter No. 3981 / PSERC / DTJ-50 dated 05.12.2008 from Director / Regulations, PSERC, Chandigarh addressed to the Chief Engineer / Commercial, PSEB, Patiala.

“Please refer to your office Memo No. 468 dated 15.05.2008 vide which Standard Cost Data in compliance of Regulation-10 of the subject cited Regulations has been submitted for approval.  The charges recoverable from the applicants as per Regulatioin-9 of ibid Regulations have been approved by the Commission as contained in Annexure-‘A’.  The revised charges as approved are applicable to the demand notices to be issued w.e.f. 22nd Dec., 2008.  It is desired to ensure that revised rates/ charges are circulated immediately and made available to the field officers by 21st December, 2008 for implementation.”

Approved Standard Cost Data.

Standard Cost Data – Proposal

| Sr. No. | Cate gory | Existing rates |  |  | Proposed by the Board |  |  | Approved by the Commission. |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Load (In KW) | Per KW Charges (In Rs.) | Variable (Rs.per metre) | Load (In KW) | Per KW Charges (In Rs.) | Variable (Rs.per metre) | Load (In KW) | Per KW Charges (In Rs.) | Variable (Rs.per metre) |
| 1. | DS | a)Upto 1 KW b)Above 1 KW & upto 3 KW c)Above 3 KW & upto 7 KW d)Above 7 KW | 250/- 300/- 500/- 750/- | 125/- 125/- 125/- 125/- | ) ) ) ) ) | i)620 for only service line cases ii)2181 for others | 152/- 152/- | a)Upto 1 KW b)Above 1 KW & upto 3 KW C)Above 3 KW & upto 7 KW D)Above 7 KW | 300 360 600 900 | 150 150 150 150 |
| 2. | NRS | a)Upto 1 KW b)Above 1 KW & upto 3 KW c)Above 3 KW & upto 7 KW d)Above 7 KW | 250/- 500/- 750/- 1000/- | 125/- 125/- 125/- 125/- | ) ) ) ) ) ) ) ) | 1832/- | 181/- | a) Upto 1 KW b)Above 1 KW & upto 3 KW C)Above 3 kw | 300 600 900 | 180 180 180 |
| 3 | SP |  | 750/- | 125/- |  | 3102/- | 226/- |  | 900 | 220 |
| 4. | MS |  | 750/- | 125/- |  | 1733/- | 357/- |  | 900 | 350 |
| 5. | LS | i) Upto 500 KVA ii)Above 500 KVA | 750/- 750/- | 125/- 125/- |  | 2050/- 2118/- | 319/- 328/- | i) Upto 500 KVA Contract Demand ii) Above 500 KVA Contract Demand | 900 per KVA 900 per KVA | 320 320 |

From the perusal of the above extracts, it is observed that clearly there was no provision to charge variable charges for new connections above 1000 KW under ESR 51.2.1.   According to ESR 51.2.1.2, the provision was only to charge Rs. 750/- per KW or the actual cost which ever was higher..  Again on a reference to Regulation 9.1.1 of the Supply Code dealing with the new connections, it is noted that this distinction was maintained between new connections upto 500 KW / 500 KVA and above 500 KW / 500 KVA.  These were separately dealt with under Regulation 9.1.1(i) (a) and 9.1.1.(i) (b).  The applicants for the first category (a)  are required to pay only per KW / KVA charges as approved by the Commission in case length of the service line is upto 100 metre for Domestic and Non-residential supply category and 250 metre for industrial and Bulk Supply category.  However, where the length of the service line exceeds above limits, the applicants are also required to pay additional variable charges  for the extra length of service line again at the rate approved by the Commission.  Under the second category (b), it is provided that where load exceeds 500 KW / 500 KVA, the applicant is required to pay per KW / KVA charges as approved by the Commission or the actual expenditure  for release of  connection which ever is higher.  It is apparent that connections for load exceeding 500 KW / 500 KVA, have been treated differently and there is no limit of length of the service line and also there is no provision for payment of additional variable charges  for the service line.   The reason for this distinction appear to be that whereas under (a) category, the requirement is for payment of KW / KVA charges which includes only limited length of the service line.  There could be the cases requiring extra length of the service line for which additional expenditure will have to be incurred by the licensee.  To recover such expenditure, provision for payment of additional  variable charges based on length of  the service line have been incorporated.  For the connections falling under (b) category, there is provision for recovering   actual expenditure for release of connection, in case it is higher than the approved per KW / KVA charges.  Thus, any additional expenditure on the extra length of the service line is automatically covered in the actual expenditure, which will be higher, if length of the service line is more.  Standard Cost Data was approved by the Commission, as required under Regulation-10 of the Supply Code.  The Commission approved the Standard Cost Data which was made applicable with the issue of CC. 68/2008.  The only contention put forth by the Sr. Xen was that in column-5 of the Standard Cost Data, both per KVA charges and variable charges have been mentioned and hence are recoverable.  In my view, the provisions of the Supply Code and  the approved  Standard Cost Data are  not being correctly interpreted by the respondents.  The charging Regulation for recovery of charges for a new connection is 9.1.1.  Approval of the Standard Cost Data is subordinate to  Regulation 9.1.1.  Charges are to be levied on approved rates according to the Regulation.  Regulation 9.1.1 (i) (b) is  very categorical that  the applicants falling in this category will  be required to pay per KW / KVA charges approved by the Commission or the actual expenditure whichever is higher.  No other expenditure is mentioned in this provision.  Therefore, in my view, even if variable charges are mentioned in the Standard Cost Data that does not make its  charging  mandatory when the same is not provided in the charging Regulation.  Mention of any rates in the approved  cost data only gives rates to be adopted where ever applicable according to  Charging Regulation  During the course of proceedings, it was enquired from the Sr. Xen attending the proceedings whether the actual expenditure as per estimate, in the case of the petitioner includes charges for the length of the required service line etc.    He conceded that while preparing the estimate, all expenses on actual basis were taken into account and included in the case of the petitioner.  The actual expenditure for release of the connection worked out to Rs. 12,68,561/-, where as per KW/KVA charges worked out to Rs. 13,41,000/-.  Since per KW/KVA charges were higher, the same were charged.  Thus, there does not appear to be any justification in recovering variable charges again when these had already been included while preparing the estimate of actual expenditure which was taken into account at the time of issue of the DN.

Another observation which needs to be taken note of is that  the Supply Code was made effective from 01.01.2008.  The SCC in the DN were to be worked out in accordance with Regulation 9.1.1 which has already been discussed above in detail.  Under clause (b) only, per KW / KVA charges were recoverable in case actual expenditure was lower.  CC 68 / 2008 was made effective from 22.12.2008.  Thus, no variable charges could be levied before 22.12.2008 and in my view; levy of such charges could not be made mandatory by mentioning it in the Standard Cost Data and required amendment of the Regulation 9.1.1 to make it applicable.  No such amendment was made to the Regulation 9.1.1 of the Supply Code.

Another fact which needs to be noted is that DN was issued to the petitioner through Memo No. 1633 dated 08.01.2009.  After completing the formalities and payment of the SCC, the connection was released on 21.05.2009.  The petitioner was again issued notice No. 1099 dated 30.06.2011 for payment of additional Rs. 8,62,720/- comprising of variable charges.  This notice was issued in pursuance of audit para and in view of CC 68/2008.   The charges mentioned in the DN dated 8.1.2009 were revised after release of connection on 21.05.2009 after a period of more than two years of release of connection.   The Sr. Xen attending the proceedings was asked to bring on record any specific Regulation which allows the respondents to revise the DN after the release of connection for recovery of any further amount.  He was unable to point out any such Regulation either in the Supply Code or in the ‘Conditions of Supply’ or in the ‘ESR’.  His attention was drawn to Regulation 6.1 of the Supply Code which prescribes procedure for release of new connections etc.  It was pointed out that in the last para of Regulation  6.1, it is provided that the terms and conditions specified in the Demand Notice, once issued will not be altered / changed except due to change in the  applicable laws.  He was asked to clarify whether DN once issued   and complied with, could be revised after the  release of connection in view of this specific Regulation.   He conceded that DN can not be revised especially after release of a connection. Accordingly, I am of the  view that considering  this specific provision in the Supply Code, revising of the DN, after the release of connection was not justified.  To conclude, it is held, that the DN could not be revised or altered except due to change in applicable laws..  Further according to Regulation 9.1.1 (i) (b) of the Supply Code, the only requirement is for charging of KW / KVA charges or the actual expenditure which ever is higher.  Therefore, the additional demand raised on account of variable charges is held, not recoverable. Accordingly, the amount excess/ short, after adjustment, if any, may be recovered / refunded from / to the petitioner with interest under the provisions of ESR- 147 read with ESIM - 114.

7.		The appeal is allowed.

(Mrs. BALJIT BAINS)

Place: Mohali.  			                               Ombudsman,

Dated:	.21.06.2012.				                     Electricity Punjab

Mohali.