## Slide 1: PSTCL
GRID-EU&R
State-wise Benchmarking for STUs
Strictly Private and Confidential
Draft
13 January 2020

## Slide 2
State-wise Benchmarking | 3
Contents
PSTCL
Contents

## Slide 3: State-wise Benchmarking
-1 State-wise Benchmarking
PSTCL
3
State-wise Benchmarking | 3
1 Comparison of Technical Parameters | 4
2 Comparison of Financial parameters | 5
3 Best Practices in Transmission | 9
Contents

## Slide 4: Comparison of Technical Parameters (FY 2017-18)
Chart: 
| PTCUL | GETCO | UPPTCL * | PSTCL | HVPNL | KPTCL* | MSETCL | TANTRANSCO*
Transmission Losses (%) | 0.0139 | 0.0372 | 0.0379 | 0.0312 | 0.0226 | 0.0322 | 0.033 | 0.0411
1 Comparison of Technical Parameters
PSTCL
4
Transmission Losses
Transmission Availability Factor
Chart: 
| PTCUL | GETCO | UPPTCL * | PSTCL | HVPNL | KPTCL* | MSETCL | TANTRANSCO*
Transmission Availability Factor (%) | 0.9915 | 0.9947 | 0.9975 | 0.9997 | 0.9895 | 0.996 | 0.9961 | 0.9885
* Latest true-up figures are available for FY 2016-17
#Latest trued up figure of line losses for TANTRANSCO is 4.11% for FY 2015-16. Latest trued up figure of Transmission availability for TANTRANSCO is 98.85% for FY 2015-16.
Source: Tariff orders and websites of the State Utilities
Contents

## Slide 5: Comparison of Financial Parameters (FY 2017-18)
2 Comparison of Financial parameters
PSTCL
5
Utility | State | ARR approved for FY 2017-18 | Revenue3 (INR Cr) | No. of Employees | Energy Handled (MU) | Revenue per Employee (INR Cr) | ARR/unit Energy handled (INR)
PSTCL | Punjab | 1155.56 | 1216.99 | 3011 | 49355 | 0.41 | 0.23
PTCUL | Uttarakhand | 226.43 | 252.78 | 743 | 16710 | 0.34 | 0.14
GETCO | Gujarat | 3,226.48 | 3,396.55 | - | 89632 | - | 0.36
HVPNL | Haryana | 1612.91 | 1692.47 | 62532 | 50871 | 0.27 | 0.32
UPPTCL4 | Uttar Pradesh | 2678.08 | 2069.381 | - | 118545 | - | 0.23
MSETCL4 | Maharashtra | 3427.32 | 3195.361 | 10229 | 150341 | 0.31 | 0.23
1 ARR assumed as revenue because of unavailability of Financial Statements
2 Assumed to be equal to current figures
3 Total Revenue of the utility
4 Data taken from APR of FY 2017-18 due to pending tariff orders for true-up of FY 2017-18
Contents

## Slide 6: Comparison of Financial Parameters (Current)
2 Comparison of Financial parameters
PTCUL BoD Meeting
Utility | State | ARR approved for FY 2019-201 | No. of Employees | Energy Handled (MU) | ARR per Employee (INR Cr) | ARR/unit Energy handled (INR)
PSTCL | Punjab | 1329.60 | 2934 | 58,825 | 0.45 | 0.23
PTCUL | Uttarakhand | 255.01 | 798 | 17194 | 0.32 | 0.15
GETCO | Gujarat | 4114.85 | - | 110814 | - | 0.37
HVPNL | Haryana | 1286.78 | 62532 | 49447 | 0.21 | 0.26
UPPTCL | Uttar Pradesh | 2051.81 | - | 111014 | - | 0.18
MSETCL | Maharashtra | 3525.47 | 10229 | 1503412 | 0.34 | 0.23
1 ARR assumed for FY 2019-20 as APR values are not available in most of the cases
2 Assumed to be equal to current figures
3 Total Revenue of the utility

## Slide 7: Comparison of Financial Parameters (FY 2017-18)
2 Comparison of Financial parameters
PSTCL
8
O&M Expenses per Energy Handled (INR/kWh)
Employee Expense per Energy Handled (INR/kWh)
Chart: 
| PTCUL | GETCO | PSTCL | HVPNL | MSETCL* | UPPTCL*
O&M Expenses per Energy Handled | 0.07827 | 0.14872 | 0.10008 | 0.17591 | 0.088445 | 0.087271
Chart: 
| PTCUL | GETCO | PSTCL | HVPNL | MSETCL* | UPPTCL*
Employee Expense per Energy Handled | 0.043764 | 0.10519 | 0.089544 | 0.06632 | 0.056971 | 0.052115
*Data taken from APR of FY 2017-18 due to pending tariff orders for true-up of FY 2017-18
Contents

## Slide 8: Best Practices in Power Transmission
3 Best Practices in Transmission
PSTCL
9
Best Practices in Human Resource management and development
02
O&M Best Practices
Hot line washing of substation and lines with specifically designed machines
Techniques such as live-line working to enable certain types of maintenance to be carried out without taking transmission lines out of service
Deployment of Emergency Restoration Systems to restore collapsed towers due to natural calamity in shortest possible time
Use of helicopters for transmission line patrolling and washing of insulators
Installation of on-line health assessment and monitoring equipment at field locations for continuous health monitoring of equipment and assets
01
Outsourcing of O&M of small substations to optimize Manpower cost
Development of training modules and programs to sensitize the employees about the latest developments in the sector
Establishment of training centres to impart training on Technical, Safety and Soft skills to the employees
Financial support to employees towards obtaining higher relevant education
Recognition and reward to employees for technical papers in National/International seminars/conferences/ workshops to encourage
Contents

## Slide 9: Best Practices in Power Transmission
3 Best Practices in Transmission
PSTCL
10
Optimisation of Investment plans
04
Implementation of advanced technology
Assessment of the existing system parameters for implementation of HV and EHV transmission
Development of a roadmap for implementation of Smart Grid
Identification of possible smart grid solutions that may be implemented in the state transmission network
Mapping of locations for installation of ABT meters and smart meters (already underway for ABT Meters)
Implementation of wide area management system (WAMS)
Development of ERP system to streamline the functions of the utility by making use of technological solutions.
Development of online dashboards and tools to monitor real time data pertaining to both the transmission and SLDC functions
03
Capital Investment plans for new projects based on load growth studies and projections made in co-ordination with the Discom
Emphasis laid on relieving points of congestion in the Transmission network
R&M based on diagnostic condition monitoring of the existing Transmission network
Prudent cost estimation and analysis for the projects should be undertaken at the DPR stage
Contents